Jiangsu Integrated Chinese and Western Medicine Hospital

Procurement items such as hemodialysis filters

International competitive bidding documents

Bidding No. HOLLY43F 1009-2141

Volume II

Bidding Agency: Jiangsu Hongye International Technical Engineering Co., Ltd

March 2021

Directory

Chapter V     Tender invitation

Chapter VI     Tender Information Form

CHAPTER VII     Special terms of contract

CHAPTER VIII     List of Goods Requirements and Technical Specifications

Chapter V

Tender invitation

Invitation to Bid

Jiangsu Hongye International Technical Engineering Co., Ltd (bidding agency) is entrusted by Jiangsu Integrated Chinese and Western Medicine Hospital to conduct public bidding on procurement projects such as hemodialysis filter, and welcome manufacturers with supply capacity to bid.

1. Tender No. HOLLY43F 1009-2141

Form of tender: open tender

- Tender content and quantity:

- This project consists of one package and two items

Item 1: Number of hemodialysis filters :5 budget :1.5 million

Item 2: Number of hemodialysis machines :16 budget :2.4 million

Technical requirements are detailed in the cargo demand list and technical specifications

3. bid price (RMB):1000 yuan / package; no refund after sale; additional 50 yuan for domestic mail order.The tender documents for sale of this project are electronic version and paper version. If there is any conflict, the paper version shall prevail.

4. time to purchase tender documents: from March 15,2021 to March 22,2021, 9:00-11:00 a.m., 14:00-17:00 Beijing time, (below).

Purchase of tender documents: room 2008,20/ F Hongye Building ,50 Zhonghua Road, Nanjing.

5. submission of tender documents :14:30 April 6,2021.

6. tender documents are submitted to Room 2028,20/ F Hongye Building ,50 Zhonghua Road, Nanjing.

Deadline for submission of tender documents 7.:15:00 on April 6,2021.

8. bid opening time: April 6,2021 15:00.

9. place of submission of tender documents and deposit: room 2028,20/F, Hongye Building ,50 Zhonghua Road, Nanjing.

10. Bid opening place: room 2028,20/F, Hongye Building ,50 Zhonghua Road, Nanjing City.

11. Bidders may contact us by person, letter (fax) or telephone if they need advice on this tender document

Yes. If you are not ready to participate in the tender, please inform us as soon as possible. Thank you for your cooperation.

Contact: Wan Hanxiao Tel :025-52278371

Purchaser: Jiangsu Integrated Chinese and Western Medicine Hospital

Address :100 Cross Street, Hongshan Road, Nanjing City, Jiangsu Province

Contact :025-85630179

12. Bank information (for bid security and tender services)

Name: Jiangsu Hongye International Technology Engineering Co., Ltd

Bank of China Nanjing Zhonghua Road Branch

Account number :527460884999

13. Mode of registration: online registration
1. pay attention to WeChat Public number: Hollyitc( Jiangsu Hongye International Technical Engineering Co., Ltd) choose bidding service;
Fill in the correct registration information 2. selecting the registration items;
3. should upload the following information:
1 The identity card (photocopy) of the legal representative or the power of attorney (original) of the legal representative with the signature of the legal representative and the identity card (photocopy) of the authorized person shall be affixed with an official seal;
The photocopy of the business license of the tenderer shall be stamped with official seal;
4. payment of tender fees
Attached: if the registration information is filled out incorrectly, the supplier shall bear the corresponding risk.
The above information after the background examination and approval of the tender documents, not as required to obtain documents can not participate, the consequences are at your own expense.

Chapter VI

Tender Information Form

Tender Information Form

The specific information of the goods to be purchased in this table is a specific supplement and modification to the instructions of the bidder. If there is any contradiction, this information form shall prevail.

| Article No | Content |
| --- | --- |
| I. NOTE |  |
| Increase | This bidding activity is bound by the Ministry of Commerce's order No .1 of 2014. |
| 1.1 | Name of Tenderer: Jiangsu Integrated Chinese and Western Medicine Hospital |
| 1.2 | Name of Bidding Organization: Jiangsu Hongye International Technical Engineering Co., Ltd Room 2008,20/F Hongye Building ,50 Zhonghua Road, Nanjing City, Jiangsu Province Tel :025-52278371 Fax :025-52278761 |
| 1.3 | Form of tender: open tender Source: Implemented |
| III. Preparation of tender documents |  |
| 6.1 | If a potential bidder requests clarification of the tender documents (including the contents of the amendments to the tender documents), he shall notify the tenderer or the tender institution in writing 10 days before the tender deadline. The tenderer or the tenderer will reply in writing within 3 days from the date of receipt of the bidder's written objection and send the written reply to each potential bidder who receives the tender document (the source of the question is not included in the reply). |
| 8 | Tender language: Chinese and / or English. In case of English tender, the bidder shall provide 4 Chinese tender documents at the same time. In case of conflict, Chinese shall prevail. The supporting materials and printed documents submitted by the bidder may be in another language, and the corresponding contents shall be accompanied by a Chinese translation, which shall prevail in the interpretation of the tender documents. |
| 10.3 | Bidders are only allowed to provide a bid plan. Otherwise, its bid will be rejected. |
| 11.2 | Bidders are not allowed to bid for missing items. Otherwise, its bid will be rejected. |
| 11.6.1 | Transportation, insurance and related costs associated with the shipment of goods to the final destination |
| 11.6.2 | Composition of bid quotation: For RMB quotation, please report to DDP Jiangsu Integrated Chinese and Western Medicine Hospital. For US dollar quotation, please report to CIP Jiangsu Integrated Chinese and Western Medicine Hospital. |
| 12.1 | The goods and services provided by the bidder from the territory of the people's Republic of China shall be quoted in RMB. |
| 12.2 | The goods and services provided by bidders from outside the people's Republic of China shall be quoted in RMB or other major international settlement currencies. |
| 13.1 | This tender does not accept bids from the consortium. |
| *13.3 5） | Qualification documents required in the solicitation documents: - The business license of the tenderer, the medical device business license or the second class medical device business record certificate, the medical device registration certificate, etc .(the bidder is required to provide within the territory of the people's Republic of China). (copy affixed with the official seal of the tenderer) - If the People's Republic of China implements the system of manufacturing and installing safety licenses, compulsory certification (such as 3 C certification) and admission certificates, it must provide the qualification documents issued by the relevant departments of the people's Republic of China. (Xerox) - Indicate the specifications of the goods and the main technical performance parameters, duly printed product samples and / or instructions and / or data sheets (Data Sheet )(non-computer printed version) and / or test reports issued by the authority (original). - If the agent participates in the bidding, he shall provide the manufacturer's special authorization letter (original) for the project, and a copy of the business license of the authorized unit, the manufacturer's medical device production license, the medical device business license or the second class medical device business record certificate, the medical device registration certificate, etc., and affix the official seal of the authorized unit. - If the bidding equipment is a product outside the customs of the people's Republic of China, the customs declaration form and commodity inspection certificate of the people's Republic of China shall be provided at the time of delivery of the tender. - The tenderer has the necessary ability to perform the contract and provide supporting materials. Special note: if the contents of this part of the tender documents are in conflict, this part of the description shall prevail. |
| 14.3 2） | Within 10 years from the sale of the equipment, the bidder will guarantee the supply of spare parts at the buyer's expense. |
| 15.1 | Bid margin amount: not less than 2% of the total bid price, not higher than 2% of the project budget price. |
| 15.3 | The bid bond shall be in the tender currency or the currency acceptable to the tendering agency and in any of the following forms: 1) bank guarantee (B/G) or irrevocable standby letter of credit (STANDBY L/C) issued by a reputable bank within or outside the people's Republic of China in the form provided by the tender documents or other forms accepted by the tender authority shall be valid for 30 days. The bank guarantee (B/G) must be transferred by the Bank of China Jiangsu Branch; if it is an irrevocable standby letter of credit (STANDBY L/C), it must be confirmed by the Bank of China Jiangsu Branch. All bank charges shall be borne by the bidder. 2) bank drafts, bank promissory notes or cash issued by reputable banks within the territory of the People's Republic of China. 3) bank transfer or wire transfer. Special note: this project adopts the above method 3). The bid bond must reach the designated account of the tender agency before the bid opening, and the bidder shall be deemed to have submitted the bid bond, and the bidder shall take full account of the time of the funds in transit when remittance. Name: Jiangsu Hongye International Technology Engineering Co., Ltd Bank: Bank of China Nanjing Zhonghua Road Branch Account No .527460884999 |
| 16.1 | Tender validity period :90 days from the date of bid opening. |
| *17.1 | Bidders shall submit one original and one copy of the tender documents and one electronic tender document (sealed scan, provided in U form), each set of tender documents shall be clearly marked "original" or "copy ". A copy of the tender document shall be a copy of the original. If the original does not match the copy, the original shall prevail. |
| *17.2 | The original tender documents shall be printed or written in indelible ink and signed by the legal representative or his duly authorized representative. The authorized representative shall attach the power of attorney of the legal representative in writing to the tender document. Except for unmodified printed documents, each page of the tender document shall be signed by the legal representative or his authorized representative by surname or initials. Tender documents shall be bound in strict accordance with the requirements of tender documents. |
| Submission of tender documents |  |
| 18.2 | 1) Tender Documents Submitted to :2028 Bid Opening Room ,20/F Hongye Building ,50 Zhonghua Road, Nanjing |
|  | 2) Bidding Invitation Title: Jiangsu Integrated Chinese and Western Medicine Hospital Hemodialysis Filter Machine and other procurement projects HOLLY43F No .1009-2141 |
| 19.1 | Tender closing date: April 6,2021 15:00(Beijing time) |
| V. Bid opening and bid evaluation |  |
| 22.1 | Tender opening date :6 April 2021 Time :15:00(Beijing time) Venue: Jiangsu Hongye International Technology Engineering Co., Ltd Opening Room 2028,20/F, Hongye Building ,50 Zhonghua Road, Nanjing |
| 23.1 | Evaluation method: comprehensive evaluation method |
| 25 | Currency of bid evaluation: RMB In order to facilitate bid evaluation and comparison, if there are many currencies in the bid quotation, the bid currency authorized by the people's Bank of China on the day of bid opening shall be converted into RMB. |
| 27.1 | 1. quote :30 (A preliminary evaluation of the bid price of each qualified bidder after correction, missing items and other factors as the total bid price of the bidder, the lowest bid evaluation price of 30 points, other points = the lowest bid evaluation / each evaluation price *30 points) 2. technology, performance, configuration :45 points (45 points for meeting the basic requirements of the tender, plus no points for positive deviation ;2 points for each negative deviation of ★ item ;1 point for general parameters, minus one item) 3. project implementation programme :10 points The bidder shall formulate the overall implementation plan, installation plan, schedule arrangement, equipment use and maintenance, acceptance plan according to the specific implementation of the project. The first place gets 10 points, the second place 7 points, the third place 4 points, the fourth place 1 point, the rest or does not provide no score. ) 4. warranty :5 points A basic score of 3 points for meeting the minimum requirements of tender documents; a full score of 5 points for each additional year. ) 5. after-sales service programme :5 points According to the project requirements, the comprehensive horizontal comparison after-sales program, the first place gets 5 points, the second place gets 3 points, the third place gets 1 point, the rest or does not provide no score. ) 6. brand influence and market recognition :3 points (3 points for the first place ,2 points for the second place and 1 point for the third place, based on project requirements and suppliers' brands) Completeness of 7. tender documents :2 points - (If the tender documents fully meet the requirements of Article 11 of the instructions to bidders, score 2; otherwise, score 0) 1. the main terms are marked with an asterisk ("*") in the tender documents, any deviation from these main terms (that is, not satisfied, the same below) will result in the rejection of the bid; 2. star number ("*") is not added to the tender documents as a general clause. For these general terms, any deviation in the tender documents exceeding 6 items (including 6 items) will result in the rejection of the bid; 3. bidding itemized quotation form and technical specification deviation form must be strictly in accordance with the requirements of tender documents. If you bid for more than one equipment, you should quote separately in the bid quotation form. The technical deviation form shall respond to the goods demand list and technical specifications in Chapter 8 of this tender document. The commercial deviation form shall respond to the special terms of the contract in Chapter 7 of this tender document. If the commercial and technical response of the bid documents is not in accordance with this regulation, the risk of rejection of the bid arising therefrom shall be borne by the bidder; 4. technical support information must be provided in the tender documents for the parameters specified in the technical specifications. If not, the bid evaluation shall not be approved (that is, the bid will be rejected). The technical support materials shall be based on the printed materials published by the manufacturer or the test report issued by the testing organization. (The test report issued by the inspection organization shall provide the original for reference when bidding and evaluating the bid). For the performance and technical terms required in the tender documents, if the technical white paper and color pages are used as supporting materials, please affix the manufacturer's official seal or tender seal to each page (including the cover) of the white paper, and provide the name of the official seal or tender seal on the white paper. Otherwise, it will not be used as the basis for response to performance or technical parameters. |
| *27.3 | Quotation: Inland freight, insurance and other accompanying services incurred in China The bidder shall provide the quotation [DDP price (RMB quotation), CIP price (US dollar quotation)] in the bid documents including all expenses of unloading, storage, storage, installation, commissioning, training, until acceptance. Cost of spare parts and spare parts The bidder shall provide the list and price of spare parts (including breakable parts) and special tools for the normal and continuous operation (or use) of the goods during the warranty period. |
| *27.4.2 1） | Delivery date: within 90 days from the date of signing the contract |
| *27.4.2 2） | Terms and conditions of payment :90% of the contract price is paid after the contract is signed and accepted, and 10% of the contract price is paid after 1 year of normal use. |
| Increase | Spare parts supply and after-sales service facilities in China: please indicate. |
| Increase | Equipment performance and productivity: see Technical Specification. |
| VI. Contract award |  |
| Increase | Note: bidders must be successfully registered on the tender website before the tender deadline. Otherwise, the bidder will not be able to enter the bidding process effectively, and the consequences will be the responsibility of the bidder himself. (China International Bidding Network Web Site www.chinabidding.com) |
| 35 | This article does not apply. |
| 36.1 | Tender services: The winning bidder shall pay the tender service fee to the tender institution in accordance with the following standards and regulations: (1) The total amount of the winning bid as determined in the Notice of Winning bid shall be used as the basis for calculating the fees. (2) The tender service fee shall be charged with reference to the State Planning Commission, No .1980. (3) The tender service fee shall be in the same currency as the tender currency. (4) Terms of payment of tender services: payment may be made by promissory notes, bills of exchange, wire transfers, cash, etc .(but for payments from abroad, only wire transfers or cash are accepted). (5) If the successful bidder fails to pay the bid service fee in accordance with the above provisions within 30 days after receiving the tender notice, the tender institution shall confiscate its bid bond. |
| Increase | Special note: Bidders are required to carefully read the relevant provisions in Book I of the tender documents, such as :9. Composition of bid documents ;13. Certification of bidders' eligibility and qualification documents ;15. Tender bond ;17. The style and signature of bid documents, etc .(not only this). Bidders are required to do their own bidding documents according to the bidding documents, otherwise they will bear the risk of scrapping the bid. |
| Increase | (1) Tender documents must be glued and binders shall be deemed invalid. (2) The Tender Opening List, Original Tender Documents and Copy of Tender Documents shall be sealed and submitted separately. (3)" List of Bid Opening "," Original Tender Documents "and" Copy of Tender Documents "are marked on the envelope with" List of Bid Opening "," Original Tender Documents "and" Copy of Tender Documents ". (4) All envelopes shall be in the following format: Procurement document number: Project name: full name, address, zip code and telephone number of bidder. The words "shall not be unsealed before (tender deadline)" are stated. (5) The procurement agency will refuse to accept tender documents that are not sealed in accordance with the above provisions. |

CHAPTER VII

Special terms of contract

Contract information sheet

The specific information of the goods to be purchased in this table is a specific supplement and amendment to the terms of the contract. If there is any contradiction, this information form shall prevail.

| Article No | Content |
| --- | --- |
| *1.1 1） | The seller shall provide the buyer with a detailed list of the goods for acceptance upon arrival before signing the contract. |
| 1.1.3 | Procurement items such as hemodialysis filters |
| *1.1.7 | Buyer's Name: Jiangsu Integrated Chinese and Western Medicine Hospital |
| 1.1.8 | Name of Seller: To be determined |
| 1.1.10 | Project Site: Jiangsu Integrated Chinese and Western Medicine Hospital |
| 4.1 | The goods delivered under this contract shall conform to the standards and technical requirements specified in the technical specifications of the tender documents. If the applicable criteria are not mentioned in the technical specifications of the solicitation documents, the following criteria shall be met: 1) the latest valid version of the PRC national / international / ministerial standards related to the manufacture and acceptance of contracted goods; or 2) the latest valid version of the official standards of the country of manufacture of the goods provided by the seller with the tender documents, as confirmed by the buyer, relating to the manufacture and acceptance of the contract goods; or 3) the acceptance outline of the goods provided by the seller with the tender documents shall be confirmed by the buyer as one of the basis for acceptance of the goods; or 4) the seller's commitment to clarify the tender documents, confirmed by the buyer, it will be one of the basis for acceptance of the goods. |
| 7 | This article does not apply. |
| 10.1.5 | Port of destination: Nanjing Port, China |
| 13 | The following information should be provided in the case: - Bill of lading - A set of copies of the packing list/weight list issued by the manufacturer - A certificate of quality and quantity issued by the manufacturer |
|  | 16 Accompanying services: 1) technical training: the seller provides the equipment first inspection related expense, the seller provides the buyer clinician free primary application training 1 time, the free advanced application training 3 times, ensures the buyer to use department each user to master the basic operation method which completes the daily work; the seller provides the buyer technician and the engineer free repair training and the technical training, ensures the buyer engineer to master the basic maintenance operation technique.The seller shall provide the buyer with the maintenance manual and the operation manual free of charge. If there are special tools, the seller shall provide the buyer with special tools for equipment maintenance. 2) software upgrade: the seller opens the data interface free of charge, the seller can upgrade the buyer's existing software free of charge according to the buyer's demand. 3) during the life of the equipment, the seller shall ensure the supply and timely maintenance of maintenance accessories, and the maintenance price shall remain unchanged (except for policy adjustment factors). 4), whether during or outside the warranty period, the seller undertakes to repair the equipment on-site. The seller's engineer to the buyer must contact the buyer's equipment management department in advance and register accordingly; Complete maintenance work with buyer engineer during maintenance. Otherwise, the seller is responsible for all liability. In order to ensure the normal operation of the equipment, the seller undertakes to ensure the replacement of the original parts for the buyer during the service life of the equipment to ensure the normal use of the equipment. 5) provide the latest technical information and information on the use and maintenance of the contract goods. |
| 17.2 | Spare parts requirements: During the warranty period, if the buyer's actual spare parts exceed the scope of the list, the seller shall provide them free of charge. Within 10 years of the sale of the equipment, the bidder will guarantee the supply of spare parts at the buyer's expense. |
| 18.2 | Quality assurance period: From the date of signature confirmation of acceptance report, start to enter the warranty period, free warranty period ≥5 years. |
| 18.4 | Response period for free repair or replacement of defective goods or components: within one week after the seller receives the buyer's notice. |
| 20.1 | Terms and conditions of payment: After the contract is signed and accepted ,90% of the contract price is paid, and 10% of the contract price is paid after 1 year of normal use. |
| 21 | Price: the total contract price and itemized price must be stated. 1) quote according to buyer's demand list, technical specification and scope of supply. 2) bidder shall list the itemized price of equipment body, auxiliary machine, spare parts and special tools and technical documents. 3) special magnetic card, software costs, if paid to provide, please list the price in detail and included in the bid quotation. 4) spare parts and special tools and breakable parts provided with the goods, please list the name, model specification, function, quantity and unit price in detail and include them in the bid quotation. 5) the accompanying services of the supplied goods, if paid, please list the price in detail and include it in the bid quotation; if a service is free, please also indicate it in the bid quotation. Otherwise, the bid evaluation according to the missing items. 6) if the bidder can provide the optional accessories that can add the function of the goods, please list the name, model specification, function, quantity, unit price, manufacturer in detail, not included in the bid quotation for the buyer's reference. 7) if the seller of maintenance service is paid, please quote the annual "big package" and "clear package" maintenance and service charges in the tender documents. |
| 32.2 | Settlement of disputes: China International Economic and Trade Arbitration Commission (CIETAC). Place of arbitration: Beijing. |
| 34 | Applicable law: the laws of the people's Republic of China. |
| 35.1 | Seller's notice delivery address: Jiangsu Integrated Chinese and Western Medicine Hospital. |
| Special Note: Any deviation from Clause 32,34 will be deemed to be a non-material response to the request for tender documents. In case of conflict between Chinese and English tender documents, Chinese shall prevail. |  |

CHAPTER VIII

List of Cargo Requirements

Technical specifications

List of goods requirements and technical specifications

- List of goods demand

| Serial number | Name of cargo | Quantity | :: Delivery date | Place of delivery |
| --- | --- | --- | --- | --- |
| 1 | Hemodialysis machine | 5 sets | Delivery to the buyer's designated place within 90 days after the signing of the contract. | Designated location of hospital |
|  | Hemodialysis machine | 16 sets |  |  |

- Technical specifications

Item 1: Hemodialysis machines

| Number | Technical specifications and requirements |
| --- | --- |
| One | Overall requirements |
| 1.1 | The functional parameters and hardware and software configuration of the product shall meet the requirements of the buyer. |
| II | Main Performance and Parameter Requirements of Equipment |
| 2.1 | - Complete system self-checking |
| 2.2 | - 15-inch TFT LCD color rotatable touch screen, easier to operate and more visual |
| 2.3 | - Ultrafiltration and sodium curves to provide personalized dialysis |
| 2.4 | - Having separate heparin pumps, arterial clamps, and B dry powder devices |
| 2.5 | - One-needle dialysis as an emergency |
| 2.6 | - Fully automated chemical/thermal disinfection, disinfection, decalcification and flushing |
| 2.7 | - Breakthrough new safety technologies such as leak detection, uninterrupted waterway pressure testing, filter integrity monitoring |
| 2.8 | - Non-invasive arterial pressure monitoring, venous pressure, transmembrane pressure, blood leakage detection, air monitoring |
| ★2.9 | - Emergency button to prevent unpredictable dangerous situations |
| 2.10 | - Preparation of ultrapure dialysate and replacement fluid with dialysate filter |
| 2.11 | - bicarbonate dialysis/acetate dialysis/dry powder dialysis available |
| 2.12 | - On-line hemodiafiltration: on-line preparation of ultrapure dialysate and replacement fluid |
| 2.13 | - Patient data card, each treatment before the medical staff have detailed patient data |
| ★2.14 | - Dialysate and replacement fluid flow can be automatically adjusted according to the actual blood flow of patients. Water saving and energy saving are safer. |
| 2.15 | - Innovative on-screen user guides, |
| ★2.16 | - Slow and continuous treatment 24 hours a day for acute renal replacement therapy |
| 2.17 | - On-line clearance monitor and on-line blood pressure monitoring |
| 2.18 | - Range of arterial pressure monitoring :-200 mmHg ~+200 mmHg |
| 2.19 | - Venous pressure monitoring range :0~+300 mmHg |
| 2.20 | - Blood pump blood flow 30 ml/min ~600 ml/min |
| ★2.21 | - Air Detector: Ultrasonic Conductive Detection, Optical Detector in the Venous Clip |
| 2.22 | - Heparin pump flow range :1~10 ml/h |
| 2.23 | - Liquid dialysate loop flow :0-1000 ml/min (adjustable per 100 ml/min), temperature :34℃~39℃ |
| 2.24 | - Range of conductance :12.8~15.7 mS/cm (25℃), accuracy ±0.1 |
| 2.25 | - Replacement rate :0~600 ml/min |
| 2.26 | - Ultrafiltration rate :0~4000 ml/h |
| 2.27 | - Selection of dialyzer: Unlimited ultrafiltration coefficient |
| 2.28 | - Online blood pressure monitoring range: systolic blood pressure :30 mmHg ~280 mmHg, diastolic blood pressure :10 mmHg ~240 mmHg; mean arterial pressure :20 mmHg ~255 Precision :±3 mmHg |
| III | Technical service requirements |
| ★3.1 | From the date of signature confirmation of acceptance report, enter the warranty period, free warranty period ≥5 years |
| IV | Information, spare parts and other |
| 4.1 | Information: |
| 4.1.1 | The seller shall provide the buyer with a set of operating and maintenance manuals. |
| 4.1.2 | The seller shall provide the buyer with environmental requirements for the operation, installation and use of the equipment. |

Item 2: Hemodialysis machine

| Number | Technical specifications and requirements |
| --- | --- |
| One | Overall requirements |
| 1.1 | The functional parameters and hardware and software configuration of the product shall meet the requirements of the buyer. |
| II | Main Performance and Parameter Requirements of Equipment |
| 2.1 | Ultrafiltration system with closed double capacity balanced cavity |
| 2.2 | Color LCD display (10 inches ≥), Chinese treatment system display |
| 2.3 | Dialysis treatment signal lamp, treatment more intuitive |
| 2.4 | Ultrafiltration and sodium curves to provide personalized treatment |
| 2.5 | Fully automatic pre-punching function |
| 2.6 | Automatic filling program |
| 2.7 | Function of automatic blood pump |
| ★2.8 | Fully automated chemical/thermal disinfection, disinfection, decalcification and flushing |
| 2.9 | With built-in backup power |
| 2.10 | Monitor arterial pressure, venous pressure, transmembrane pressure, air detection and blood leakage detection function. |
| 2.11 | Support bicarbonate dialysis/acetate dialysis/dry powder dialysis |
| ★2.12 | - With online hematometer, sphygmomanometer display range: systolic blood pressure :30 mmHg ~280 mmHg, diastolic blood pressure :10 mmHg ~240 mmHg; mean arterial pressure :20 mmHg ~255 Precision: mmHg ±1 |
| 2.13 | - Range of arterial pressure monitoring :-300 mmHg ~+280 mmHg |
| 2.14 | - Venous pressure monitoring range :-60~+520 mmHg |
| 2.15 | - Blood pump blood flow 15 ml/min ~600 ml/min, blood pump diameter :2 mm ml/min ~10 mm |
| ★2.16 | - Air Detector: Ultrasonic Conductive Detection, Optical Detector in the Venous Clip |
| 2.17 | - Heparin pump flow range :0~10 ml/h, syringe model 20 ml |
| 2.18 | - Liquid dialysate loop flow :0-300-500-800 ml/min, Temperature :35℃~39℃ |
| 2.19 | - Range of conductance :12.8~15.7 mS/cm (25℃), accuracy ±0.1 |
| 2.20 | - Transmembrane pressure monitoring display range :-60~+520 mmHg |
| 2.21 | - Ultrafiltration rate 0~4000 ml/h, accuracy ±1% |
| 2.22 | - Selection of dialyzer: Unlimited ultrafiltration coefficient |
| 2.23 | Cleaning/disinfection: cleaning: temperature/flow :37℃/600 ml/min; Thermal cleaning (recirculation): temperature/flow :85℃/450 ml/min Chemical disinfection (recycling): temperature/flow :37℃/600 ml/min - Thermal disinfection (recycling): temperature/flow :85℃/450 ml/min |
| III | Technical service requirements |
| ★3.1 | From the date of signature confirmation of acceptance report, enter the warranty period, free warranty period ≥5 years |
| IV | Information, spare parts and other |
| 4.1 | Information: |
| 4.1.1 | The seller shall provide the buyer with a set of operating and maintenance manuals. |
| 4.1.2 | The seller shall provide the buyer with environmental requirements for the operation, installation and use of the equipment. |