Zhangzhou City Maternal and Child Health Hospital

Digital mammary X-ray photography system

Purchase items

International competitive tender documents

Tender number:1009-2141HOLLY07E

Volume II

Tender agency: Jiangsu Hongye International Technology Engineering Co., Ltd

March 2021

The list

Chapter V Invitation to Bid

Chapter 6 Tender Information Sheet

Chapter 7 Special Terms of Contract

Chapter 8 A list of cargo needs and technical specifications

Chapter 5

Invitation to bid

Invitation to bid

Jiangsu Hongye International Technology Engineering Co., Ltd. (tender agency) by the Ganzhou City Maternal and Child Health Hospital commissioned on the digital mammary X-ray photography system procurement project for public tender, welcome suppliers to bid.

1. Tender document number:1009-2141HOLLY07E

Form of tender: open tender

2. Content and quantity of tenders:

Number of digital mammary X-ray photography systems:1 set budget: 960,000

3. Tender ( 1000 yuan / package; ) /b11> Tender documents for sale in this project are available in electronic and paper versions, whichever is in conflict.

4.Time to purchase tender documents: from March 26, 2021 to April 2, 2021, every business day 9:00-11:00,14:00-17:00(Beijing time, the same next).

Where to purchase the tender documents: Room 2008 on the 20th floor of the Hongye Building, 50 China Road, Nanjing.

5.Submission of tender documents starts at 9:30 a.m. on April 16, 2021.

6,the tender documents submitted: Nanjing, China Road 50 Hongye Building, 20th floor room 2028.

7.Deadline for submission of tender documents: April16, 2021 at 10:00a.m.,bid documents received thereafter will not be accepted.

8,opening time: April16, 2021 at 10:00a.m.

9. Tender documents submitted, bid margin location: 20th floor room 2028 of Hongye Building, 50 China Road, Nanjing.

10.Opening place: Room 2028 on the 20th floor of Hongye University Building, 50 China Road, Nanjing.

11. Bidders may contact our company by letter (fax) or telephone if they need to consult on this tender document

System. If not ready to participate in the tender, please inform our company as soon as possible, thank you for your cooperation.

Contact: Xu Yanni Tel: 025-52278370

Owner Contact: Mr. Teng Tel:0516-86221017

12. Relevant banking information (for the purchase of tender documents, the submission of tender bonds and the payment of tender service fees).

Name: Jiangsu Hongye International Technology Engineering Co., Ltd

Bank of China: Bank of China Nanjing China Road Branch

Account number:527460884999

Chapter 6

Tender information sheet

Tender information sheet

The specific information on the goods to be procured in this table is a specific supplement and modification to the bidder's knowledge, and if there are contradictions, this information sheet shall prevail.

| Terms number | Internal capacity |
| --- | --- |
| First, the description |  |
| Increase | This tender activity is subject to the Measures for the Implementation of International Tendering and Tendering for Electrical and Mechanical Products by Order No. 1 of 2014 of the Ministry of Commerce. |
| 1.1 | Name of tenderer: Zhangzhou City Maternal and Child Health Hospital |
| 1.2 | Tender institution name: Jiangsu Hongye International Technology Engineering Co., Ltd Address: Room 2008 on the 20th floor of the Hongye Building, 50 China Road, Nanjing, Jiangsu Province Phone:025-52278371 Fax:025-52278761 |
| Preparation of tender documents |  |
| 8 | Bidding language: Chinese and/or / English. In the case of tenders in English, the bidders are required to Chinese four tender documents at the same time, Chinese in case of conflict. The supporting materials and printed documents submitted by , the bidders may be in another language and shall be accompanied by a Chinese translation, which shall prevail in the interpretation of the tender documents. |
| 10.3 | Bidders are only allowed to provide one proposal. Otherwise, its bid will be rejected. |
| 11.2 | Bidders are not allowed to bid for missing items. Otherwise, its bid will be rejected. |
| 11.6.2 | Bid offer composition: RMB quotation should be reported to DDP Zhangzhou City Maternal and Child Health Hospital. The U.S. dollar quotation is reported to CIP Zhangzhou City Maternal and Child Health Hospital. That is, the winning bider for the tenderer for transport and insurance (to the destination of transport), the cost of the winning bid bear. |
| 12.1 | Bidders quoted goods and services provided from within the territory of the People's Republic of China in RMB. |
| 12.2 | Bidders offer goods and services from outside the People's Republic of China in RMB or other major international settlement currencies. |
| 13.1 | This tender does not accept bids from the federation. |
| *13.3.5 | Eligibility documents required in the solicitation documents: 1． /b10>The business license of the tendering unit, the license for the operation of medical devices, the certificate for the record of the operation of second-class medical devices, the registration certificate for medical devices, etc. (the tenderer shall provide them within the territory of the People's Republic of China). (A copy stamped with the official seal of the tender unit). 2． /b10> Products of the People's Republic of China that are manufactured and installed with safety accreditation certificates, mandatory certification (e.g. 3C certification) and access certificates must be provided with certificates of qualification issued by the relevant departments of the People's Republic of China. (copy). 3． /b10> Indicate the specifications and main technical performance parameters of the goods, officially printed product samples / instruction manuals and/or data sheets (Data Sheet) / inspection reports (originals) / issued by authorities. 4． /b10>If the agent participates in the tender, the manufacturer shall provide a special authorization (original) for this project, and provide a copy of the license of the authorized unit, a medical device business license, a tax registration certificate, an organizational code certificate and a seal of the authorized unit. 5． /b10> If the bidding equipment is a foreign product of the People's Republic of China, the People's Republic of China customs clearance documents and commercial inspection documents shall be provided at the time of tender. In particular, this part is described as quasi-if the contents of this part of volume I of the solicitation documents are in conflict. |
| 14.3.2 | Within 10 years of the sale of the equipment, the bidder will guarantee the supply of spare parts at the buyer's expense. |
| 15.1 | Bid margin amount: Not less than 2% of the total bid price andno morethan 2% of the project budget price. |
| 15.3 | Tender margin applies to the tender currency or currency acceptable to the tendering institution and takes any of the following forms: 1)A bank guarantee(B/G) or an irrevocable standby letter of credit (STANDBY L/C) issued by areputable bank within or outside the People's Republic of China in the form provided by the tender documents or accepted by the tender institution shall be valid for more than 30 days. In the case of a bank guarantee(B/G), it must be opened by the Jiangsu branch of Bank of China and, in the case of an irrevocable standby letter of credit (STANDBY L/C),confirmed by the Jiangsu branch of Bank of China. All bank charges shall be borne by the bidders. 2)Bank drafts, bank bills or cash issued by reputable banks in the People's Republic of China. 3)Bank transfer or wire transfer. Special Note: This item uses the above method 3). The tender margin must arrive at the designated account of the bidding agency before the opening of the tender, and the tender security deposit shall be deemed to have been submitted, and the bidder shall be invited to take full account of the time of the funds in transit when sending the money. Name: Jiangsu Hongye International Technology Engineering Co., Ltd Account opening bank: Bank of China Nanjing China Road Branch Account number:527460884999 |
| 16.1 | Bid validity period: 90 days from the date of opening of the tender. |
| *17.1 | Bidders shall submit copies and copies of the original tender documents, each set of tender documents shall clearly indicate the "original" or "copy". A copy of the tender document shall be a copy of the original. If the original does not match the copy, the original shall prevail. |
| *17.2 | The original tender document shall be printed or written in non-faded ink and signed by the legal representative or his officially authorized representative. The authorized representative shall attach the power of authority of the legal representative in writing to the tender documents. Except for printed documents that have not been modified, each page of the tender document shall be signed by the legal representative or his authorized representative in his or her last name or initials. Tender documents shall be binding in strict accordance with the requirements of the tender documents. |
| Fourth, the submission of tender documents |  |
| 18.2 | 1) Tender documents were submitted to: 2028 Bid Opening Room, 20th Floor, 50 Hongye Building, China Road, Nanjing |
|  | 2) Title of the tender invitation: Purchase project of digital mammary X-ray photography system of Luzhou Women's and Children's Health Hospital Reference:1009-2141HOLLY07E |
| 19.1 | Bid deadline:April 16, 2021 at 10:00AM (Beijing time). |
| V. Opening and evaluation of tenders |  |
| 22.1 | Opening date:April 16, 2021 Time: 10:00a.m.(Beijing time) Location: Jiangsu Hongye International Technology Engineering Co., Ltd 2028 Opening Room, 2028, Hongye Building, 50 China Road, Nanjing |
| 23.1 | Bid evaluation method: the lowest bid evaluation method |
| 25 | Bid Currency: RMB In order to facilitate bid evaluation and comparison, if there are multiple currencies in the bid quotation, the median price of the tender currency pair rmb, which is authorized to be published by the Chinese Minmin Bank on the opening day, is converted to RMB. |
| 26.3 | In addition to quotations, consider quantifying the following factors when evaluating bids: 1）、2）、3）、4）、 |
| 26.4 .1 | Inland freight, insurance and other accompanying services that occur in China The Bid Evaluation Committee will calculate the cost of inland transportation, insurance and other anculation services for the arrival of goods from the factory to their destinations in accordance with the fees issued by the highway and other transport departments, insurance companies or other relevant agencies. For ease of calculation, bidders should provide the estimated size of the goods, the weight of shipment, and the estimated DDP price (RMB quote),CIP price (USD quotation) value for each contract package in the tender documents. |
| 26.4.2 | Delivery time: : and commissioning completed within 90 days of winning the bid The deviation of the delivery time Percentage adjusted (%each week of late delivery (including one week, less than one week is calculated on a weekly basis), the bid price will increase by0.5% (0.5%) of its bid offer. |
| 26.4. 3 | A deviation from the payment terms Annual interest rate: 10 percent(10percent). |
| 26.4.4 | Cost of spare parts and spare parts Bidders are required to provide a list and price of spare parts (including flammable parts) and special tools required for the normal and continuous operation (or use) of the goods during the warranty period. |
| 26.4.5 | Spare parts supply and after-sales service facilities in China: Please indicate. |
| 26.4.6 | Estimated operating and maintenance costs for tender equipment: not applicable |
| 26.4.7 | Equipment performance and productivity: See technical specifications. |
| 26.4.8 | (2) Other additional bid evaluation factors and criteria: 1,the tender documents with an asterisk ("★")as the main terms, the tender documents for these main ( the same ) lead to the rejection of the bid; 2,the tender documents are not filled with asterisks ("★")for thegeneral provisions. For these general terms, a deviation of more than 8 items (including 8 items) in the tender documents will result in the rejection of the tender; 3,for each deviation of 1 item in the general terms, the bid price will be increased by 1% on the basis of its bid price; 4, bidsub-quotation form and technical specification deviation table must be produced in strict accordance with the requirements of the tender documents. If you bid for more than one device, you will need to bid separately in the bid quotation form. The technical deviation table shall respond to the list of cargo demands and technical specifications in Chapter VIII of this tender document. The business deviation form shall respond to the special terms of the contract in Chapter VII of this tender document article by article. If the commercial and technical response of the tender documents is not in accordance with this provision, the risk of the resulting rejection of the tender shall be borne by the bidder; 5,for the parameters set out in the technical specifications, technical support information must be provided in the tender documents, not provided, the evaluation of the bid will not be recognized (i.e., resulting in the rejection of the bid). Technical support materials shall be based on the printed materials published by the manufacturer or the inspection report issued by the testing institution. (The inspection report issued by the testing institution shall provide the original preparation when bidding and evaluating the bid.) For performance and technical terms required in the tender documents, such as technical white papers and color pages as supporting materials, please stamp each page of the white paper (including the cover) with the manufacturer's official seal or bid seal, and provide the name of the person with the official seal or tender seal on the white paper, in the manufacturer or manufacturer's relevant institutions department, job title, contact telephone number (office phone and mobile phone) and e-mail address, otherwise the evaluation will not be based on performance or technical parameters. |
| 6. Award of the contract |  |
| Increase | Note: Bidders must successfully register online before the tender deadline. Otherwise, the bidder will not be able to enter the tendering process effectively, and the consequences will be the responsibility of the bidders themselves. (China International Tendering Network website www.chinabidding.com). |
| 36.1 | Tender service charge: The winning bide shall pay the tender service fee to the tendering institution in accordance with the following criteria and regulations: (1 )The total amount of the winning bid as thebasis for the calculation of the charge as determined in the Notice of Winning bid . (2 )Tender servicecharges are charged by reference to State Planning Commission No. 1980 . (3 )Thebidding service fee is in the same currency as the bidding currency. (4 )How to pay the tender service fee : payment methods such as bill of exchange , bill of ( wire transfer or cash , payments from abroad )) . (5) If the winning bidder does not pay the bid service fee within 30 days of receiving the notice of winning , tender institution will confiscate its bid security deposit. |
| *Increase | Special tips: Bidders are required to carefully read the relevant provisions of The Tenderer's Note in Volume I of the Tender Documents,e.g. 9. n ofthe tender documents; tiondocuments; gin;17. . er. idders are required to do their own tender documents in accordance with the provisions of the tender documents, otherwise they will bear the risk of scrapping the tender. |
| Increase | (1 )The tenderdocuments must be glued and the binder binding shall be treated as invalid tender documents . (2 ) "Openinglist", "original tender documents" and "copy of tender documents" shall be sealed separately and submitted separately. (3 )"Opening bid list", "original tender documents", "copy of tender documents" on the envelope marked"opening list", "original tender documents", "copy of tender documents". (4) All envelopes must be written in the following format : Purchase document number: Name of the purchased item: Bidder's full name, address, zip code and telephone number. And the words "shall not be unsealed before (the bid deadline) " is written. (5 ) Ifthe tenderdocuments are not sealed in accordance with the above provisions , the purchasing agency will refuse to accept them . |

Chapter 7

Contract-specific terms

Contract information sheet

The specific information in this table on the goods to be procured is a specific supplement to and modification of the terms of the contract, and if there are contradictions, this information sheet shall prevail.

| Terms number | Internal capacity |
| --- | --- |
| 1.1.1 | Before signing the contract, the seller shall provide the buyer with a detailed list of the configuration of the goods for acceptance upon delivery. |
| 1.1.3 | Digital mammary X-ray photography system procurement project |
| *1.1.7 | Buyer's name: Zhangzhou City Maternal and Child Health Hospital Name of foreign trade agent: Jiangsu Hongye International Technology Engineering Co., Ltd. ( needs to be imported from the People's Republic of China, foreign trade agent is Jiangsu Hongye International Technology Engineering Co., Ltd.). |
| 1.1.8 | Seller's name: TBD |
| 1.1.10 | Project site: Radiology Department, Women's and Children's Health Hospital, Zhangzhou City, Jiangsu Province |
| 4.1 | The goods delivered under this contract shall comply with the standards and technical requirements set out in the technical specifications of the solicitation documents. If the applicable standards are not mentioned in the technical specifications of the solicitation documents, the following criteria should be met: 1)The latest valid version of the People's Republic of China National Standards / International Standards / Ministerial Standards relating / to the / and acceptance of contracted goods; 2) Confirmedby the buyer, the seller provides with the tender documents, the latest valid version of the official standards of the country of manufacture of the goods in connection with the manufacture and acceptance of the contract goods; 3)The goods acceptance outline provided by the seller with the tender documents, after confirmation by the buyer, will be used as one of the basis for acceptance of the goods; 4)The commitment made by the seller when it requested the tender documents, confirmed by the buyer, will be used as one of the basis for acceptance of the goods. |
| 7.1 | This article does not apply. |
| 7.3 | This article does not apply. |
| 10.1.5 | Port of destination: Nanjing Port, China |
| 13 | The goods should be accompanied by the following information: (1) Bill of Lading (2) Two sets of originals and three sets of copies of the packing slip/weight list issued / by the manufacturer (3) Two certificates of quality and quantity issued by the manufacturer (4) The seller's statement of wooden packaging: the wooden packaging is marked with an IPPC logo that complies with the requirements of Standard 15 of the International Phytosanitary Measures, with the corresponding box number (5) Two sellers sign certificates of origin (6) A quality guarantee issued by the seller's bank for a value of 5% of the total contract price, valid for 12 months after the delivery of the equipment. |
| 16 | Accompanying services: 1. Provide random spare parts and easy parts needed to ensure the normal operation of the goods during the warranty period. 2. Provide the special tools required for installation and maintenance; 3. The equipment sold requires a declaration that no export license is required. 4. Before delivery, the manufacturer shall carry out accurate and comprehensive inspection of the technical performance parameters of the goods and issue a test report proving that the goods are in conformity with the technical documents parameters in the tender documents. 5. At the time of delivery, the seller shall provide all technical documents required for the installation and routine operation and maintenance of the contract goods, including, but not limited to, the following: 1) Proof of origin of goods, quality certificate, pre-factory inspection report and other information. 2) Technical information on the operation and maintenance training of the buyer's personnel. 3) Purchase instructions, product certificates, product safety certificates, etc. 4) The way the cargo control system is programmed, the normal operation of the management software, upgrade software and special magnetic cards, etc., and other technical documents and electronic documents. The above technical information requires a comparison between Chinese and English, in four copies. 6. Responsible for or directing the installation (including the place of the goods, on-site assembly, etc.); 7. Responsible for commissioning until it is delivered through acceptance by the buyer and the relevant departments; 8. After the equipment has been delivered for acceptance, the seller shall provide free training to the buyer's staff to the extent that it will be operationally accessable. 9. Provide quality "three-pack" after-sales service and life-long security services. Sellers in the country must have after-sales service agencies and facilities, can provide fast repair services and spare parts supply,otherwise the bid price of1%. 10. If the abnormal wear and tear of components occurring during the warranty period, or the quality of the finished product does not meet the requirements of the production process, or if the parts, electronic components and defective parts are damaged or failed for non-human reasons, the seller shall provide services free of charge and replace the above-mentioned parts, electronic components, spare parts and defective parts free of charge. Provide up-to-date technical information and information on the use and maintenance of contract goods. |
| 17.2 | Spare parts requirements: With Article14.3(2)ofthe TenderInformation Form. /b14> During the warranty period, in the case of non-human-caused damage, the portion of the spare parts actually required by the buyer beyond the scope of the list shall be provided free of charge by the seller. Within 10 years of the sale of the equipment, the bidder will guarantee the supply of spare parts at the buyer's expense. |
| 18.2 | Quality assurance period: to provide a free warranty for the whole machine, the time from the date of equipment installation acceptance. |
| 18.4 | Response period for free repair or replacement of defective goods or parts: The seller responds within one month of receiving the buyer's notice. |
| 20.1 | Payment methods and conditions: within three months after the installation and commissioning of the equipment, pay 30% of the total contract price; |
| 21 | Price: The total contract price and the item price must be stated. 1)Quotations for "Goods Demand List", "Technical Specifications" and scope of supply as requested by the buyer. 2)Bidders shall list the equipment body, auxiliary machinery, spare parts and special tools, technical documents sub-price. 3)Dedicated magnetic card, software costs, if provided for a fee, please list the price in detail, and included in the bid quotation. 4)With the spare parts and special tools and fragile parts provided with the goods, please list the name, modelspecifications, functions, quantity, unit price in detail, and include in the tender quotation. 5)All accompanying services for the goods provided, if provided for a paid purpose, please list the price in detail and include them inthe tender quotation; Otherwise, the bid is evaluated as a missing item. 6)If the bidder can provide an option to increase the function of the goods, please list the , model specification, function, quantity, unit price, manufacturer in detail, not included in the tender quotation for the buyer's reference. 7) If the maintenance service seller provides it for a fee, please report the annual "big package" and "clean-up" maintenance filing fees in the tender documents, respectively. |
| 32.2 | Settlement of disputes: China International Economic and Trade Arbitration Commission(CIETAC). Place of arbitration: : Beijing. |
| 34 | Applicable law: The law of the People's Republic of China. |
| 35 | Seller's notice delivery address: Zhangzhou City Maternal and Child Health Hospital. |
| Special Note: Any deviation from Articles 32and 34 will be considered a non-material response to the request for solicitation documents. If there is a conflict between the Chinese and English tender documents, Chinese shall prevail. |  |

Chapter 8

List of goods demand and

Technical specifications

A list of cargo needs and technical specifications

First, a list of goods demand

| Serial number | The name of the goods is said | Number | Delivery period | The place of delivery |
| --- | --- | --- | --- | --- |
| 1 | Digital mammary X-ray photography system | 1 set | Installation and commissioning is completed within 90 days of winning the bid | Zhangzhou City Maternal and Child Health Hospital |

Second, technical specifications

| One | Overall requirements |
| --- | --- |
| 1 | Device Name: Digital Mammary X-ray Photography System |
| 2 | The main functions and uses of the device: breast disease diagnosis and early women breast disease screening |
| 3 | The manufacturer of the tendered product is required to draft the industry standard for the Special Technical Conditions for Mammary X-ray Machines (providing relevant certificates issued by third parties). |
| ★4 | The tender products have China Environmental Mark Product Certification (to provide the "China Environmental Mark Product Certification Certificate" issued by the designated authority of the Ministry of Environmental Protection). |
| 5 | Tender products are selected in the 2018 Selection List of Outstanding Domestic Medical Equipment (a certificate issued by the China Medical Equipment Association is required). |
| Two | Technical performance requirements |
| 1 | Ball tube system |
| 1.1 | Focus: small ≤0.1×0.1mm,and large focus ≤0.3×0.3mm |
| ★1.2 | Anode target material: single tungsten target material, non-dual target design for maximum reduction of the average dose of glands (requires proof from a third party) |
| 1.3 | The maximum thermal capacity of the anode ≥300KHU |
| 1.4 | The maximum tube voltage ≥40KV |
| 1.5 | The maximum tube ≥200mA |
| 2 | X-ray high-frequency high-voltage generator |
| 2.1 | All-in-one design, through the acquisition of workstation software to set high-voltage parameters |
| ★2.2 | The maximum power ≥5KW |
| 2.3 | Exposure KV range:20-40kV |
| ★2.4 | Exposure mA range:10-200mA |
| 2.5 | mAs range:5-600mAs |
| 2.6 | Exposure time range:5-10000ms |
| 2.7 | Multiple exposure control methods: manual exposure and fully automatic exposure Manual mode:kV and mAs can be adjusted manually Fully automatic mode:kV and mAs are automatically adjusted |
| ★2.8 | Automatic exposure(AEC)control with flat detector detection, non-physical ion chamber structure (proof from a third party is required). |
| 2.9 | Six exposure selection modes (dose-first HQ/SQ, contrast-first HQ/SQ, and standard-mode HQ/SQ)are supported |
| 3 | Digitize the tablet detector |
| ★3.1 | Detector type: Amorphous silicon flat detector for mammary photography |
| 3.2 | Flashing material:CsI |
| 3.3 | Effective area: ≥240mmx300mm |
| 3.4 | Pixel spacing: ≤85μm |
| ★3.5 | Spatial resolution: ≥7lp/mm |
| 3.6 | Pixel matrix: ≥3528 x 2816 |
| 3.7 | Image grayscaness: ≥14bit |
| 3.8 | Image preview time: ≤5s |
| 4 | Rack system |
| 4.1 | Drive mode: Electric |
| 4.2 | SID ≥600mm |
| 4.3 | The vertical lift range ≥590mm |
| 4.4 | C arm rotation range :-135to180degrees (error ±2degrees). |
| 4.5 | The pressure plate is operated in an electric or manual manner with automatic safety pressure limits |
| ★4.6 | Inductive intelligent compression: adjust the compression force and speed according to the gland thickness and density ( proof from a third party).) |
| 4.7 | C arm and other center point rotation: C arm and other center rotation, up and down movement through the keys or footlock control |
| ★4.8 | Motion control:The C arm rotation speed automatically matches the motion rate with the length of time the key is pressed |
| 4.9 | With mirror memory function, one key to complete the mirror conversion |
| ★4.10 | 5.7-inch pink color LCD display (photo proof provided) |
| 4.11 | Rack LCD display:C arm angle, compression thickness and compression force, with activation parameters to enlarge the display function |
| ★4.12 | One-click to complete the folding function of the device, folding the entire height of the ≤1300mm |
| 4.13 | Has the emergency stop switch function |
| 5 | oppression board |
| 5.1 | Pressed by: manual / electric |
| 5.2 | Maximum pressure:300N |
| 5.3 | Automatic release of compression is available after exposure |
| 6 | The beam limiter |
| 6.1 | Beam limiter light field indicator:LED |
| 6.2 | Light field LED time:30s |
| 7 | Image acquisition workstation |
| 7.1 | Acquisition software and equipment machine for the same manufacturer (requires the provision of software copyright registration certificate). |
| 7.2 | Computer system: Operating system:Windows,memory ≥4G,hard ≥1T |
| 7.3 | Image preview :23.8 inches |
| 7.4 | Full Chinese interface |
| 7.5 | Various exposure parameters such as kV/mAs/pressure force / compression thickness / dose / filter material / / interface / digital images |
| 7.6 | Image processing |
| ★7.6.1 | Multi-frequency, multi-layered image equalization algorithm technology by adjusting dynamic range (relevant certificates from third parties are required). |
| 7.6.2 | Manually adjust the window width and window position |
| 7.6.3 | Dynamic range adjustment of the image |
| 7.6.4 | Image amplification, partial amplification function |
| 7.6.5 | The black-and-white inverse of the image |
| 7.6.6 | The angle of the image rotates and reverses |
| 7.6.7 | The storage of the image |
| 7.6.8 | Image labels |
| 7.6.9 | Measurement function |
| 7.6.10 | Increased contrast |
| 7.6.11 | Image edge enhancement |
| 7.6.12 | Organizational balance |
| 7.6.13 | Background suppression |
| 7.6.14 | Has the selection function of breast prosthesis implant |
| ★7.6.15 | With the spectre suppression function, the software (non-physical filter gate) is implemented (requires proof from a third party). |
| 7.7 | Disc burning is available |
| 7.8 | DICOM 3.0 interface(DICOM transport, storage, printing). |

原文

邳州市妇幼保健院