Jianhu County Kangbo Medical Technology Co., Ltd. hemodialysis equipment and other medical equipment procurement projects

International competitive tender documents

Tender number:1009-2141HOLLY12D/01

Volume II

Tender agency: Jiangsu Hongye International Technology Engineering Co., Ltd

March 2021

The list

Chapter V Invitation to Bid

Chapter 6 Tender Information Sheet

Chapter 7 Special Terms of Contract

Chapter 8 A list of cargo needs and technical specifications

Chapter 5

Invitation to bid

Invitation to bid

Jiangsu Hongye International Technology Engineering Co., Ltd. (tender agency) by Jianhu County Kangbo Medical Technology Co., Ltd. commissioned to hemodialysis equipment and other medical equipment procurement projects for public tender, welcome suppliers to come to bid.

1. Tender document number:1009-2141HOLLY12D/01

Form of tender: open tender

Budget: RMB 5.4 million

2. Content and quantity of tenders:

| Package number | The name of the goods | Quantity / Table | Unit price / yuan | Budget / yuan |
| --- | --- | --- | --- | --- |
| 1 | Hemodialysis equipment | 21 | 15 | 315 |
|  | Hemodialysis filter device | 9 | 25 | 225 |

Technical requirements can be found in the list of cargo requirements and technical specifications

3. Tender ( 1000 yuan / package; ) /b11> Tender documents for sale in this project are available in electronic and paper versions, whichever is in conflict.

4.Time to purchase tender documents: from March 31, 2021 to April 9, 2021, every business day 9:00-11:00,14:00-17:00(Beijing time, the same next).

Where to purchase the tender documents: Room 2008 on the 20th floor of the Hongye Building, 50 China Road, Nanjing.

5.Submission of tender documents starts at 10:30 a.m. on April 21, 2021.

6,the tender documents submitted: Nanjing, China Road 50 Hongye Building, 20th floor room 2028.

7.Deadline for submission of tender documents: April20, 2021 at 10:30a.m.,and bid documents received thereafter will not be accepted.

8,opening time: April20, 2021 at 10:30a.m.

9. Tender documents submitted, bid margin location: 20th floor room 2028 of Hongye Building, 50 China Road, Nanjing.

10.Opening place: Room 2028 on the 20th floor of Hongye University Building, 50 China Road, Nanjing.

11. Bidders may contact our company by letter (fax) or telephone if they need to consult on this tender document

System. If not ready to participate in the tender, please inform our company as soon as possible, thank you for your cooperation.

Contact: Xiao Wei Tel: 025-52278674

Owner Contact:13770201900

12. Relevant banking information (for the purchase of tender documents, the submission of tender bonds and the payment of tender service fees).

Name: Jiangsu Hongye International Technology Engineering Co., Ltd

Bank of China: Bank of China Nanjing China Road Branch

Account number:527460884999

Chapter 6

Tender information sheet

Tender information sheet

The specific information on the goods to be procured in this table is a specific supplement and modification to the bidder's knowledge, and if there are contradictions, this information sheet shall prevail.

| Terms number | Internal capacity |
| --- | --- |
| First, the description |  |
| Increase | This tender activity is subject to the Measures for the Implementation of International Tendering and Tendering for Electrical and Mechanical Products by Order No. 1 of 2014 of the Ministry of Commerce. |
| 1.1 | Tenderer name: Jianhu County Kangbo Medical Technology Co., Ltd |
| 1.2 | Tender institution name: Jiangsu Hongye International Technology Engineering Co., Ltd Address: Room 2008 on the 20th floor of the Hongye Building, 50 China Road, Nanjing, Jiangsu Province Phone:025-52278371 Fax:025-52278761 |
| Preparation of tender documents |  |
| 8 | Bidding language: Chinese and/or / English. In the case of tenders in English, the bidders are required to Chinese four tender documents at the same time, Chinese in case of conflict. The supporting materials and printed documents submitted by , the bidders may be in another language and shall be accompanied by a Chinese translation, which shall prevail in the interpretation of the tender documents. |
| 10.3 | Bidders are only allowed to provide one proposal. Otherwise, its bid will be rejected. |
| 11.2 | Bidders are not allowed to bid for missing items. Otherwise, its bid will be rejected. |
| 11.6.2 | Bid offer composition: RMB quotation please report to DDP Jianhu County Kangbo Medical Technology Co., Ltd. U.S. dollar quotation please report to CIP Jianhu County Kangbo Medical Technology Co., Ltd. |
| 12.1 | Bidders quoted goods and services provided from within the territory of the People's Republic of China in RMB. |
| 12.2 | Bidders offer goods and services from outside the People's Republic of China in RMB or other major international settlement currencies. |
| 13.1 | This tender does not accept bids from the federation. |
| *13.3.5 | Eligibility documents required in the solicitation documents: 1． /b10>The business license of the tendering unit, the license for the operation of medical devices, the certificate for the record of the operation of second-class medical devices, the registration certificate for medical devices, etc. (the tenderer shall provide them within the territory of the People's Republic of China). (A copy stamped with the official seal of the tender unit). 2． /b10> Products of the People's Republic of China that are manufactured and installed with safety accreditation certificates, mandatory certification (e.g. 3C certification) and access certificates must be provided with certificates of qualification issued by the relevant departments of the People's Republic of China. (copy). 3． /b10> Indicate the specifications and main technical performance parameters of the goods, officially printed product samples / instruction manuals and/or data sheets (Data Sheet) / inspection reports (originals) / issued by authorities. 4． /b10>If the agent participates in the tender, the manufacturer shall provide a special authorization (original) for this project, and provide a copy of the license of the authorized unit, a medical device business license, a tax registration certificate, an organizational code certificate and a seal of the authorized unit. 5． /b10> If the bidding equipment is a foreign product of the People's Republic of China, the People's Republic of China customs clearance documents and commercial inspection documents shall be provided at the time of tender. In particular, this part is described as quasi-if the contents of this part of volume I of the solicitation documents are in conflict. |
| 14.3.2 | Within 10 years of the sale of the equipment, the bidder will guarantee the supply of spare parts at the buyer's expense. |
| 15.1 | Bid margin amount: Not less than 2% of the total bid price andno morethan 2% of the project budget price. |
| 15.3 | Tender margin applies to the tender currency or currency acceptable to the tendering institution and takes any of the following forms: 1)A bank guarantee(B/G) or an irrevocable standby letter of credit (STANDBY L/C) issued by areputable bank within or outside the People's Republic of China in the form provided by the tender documents or accepted by the tender institution shall be valid for more than 30 days. In the case of a bank guarantee(B/G), it must be opened by the Jiangsu branch of Bank of China and, in the case of an irrevocable standby letter of credit (STANDBY L/C),confirmed by the Jiangsu branch of Bank of China. All bank charges shall be borne by the bidders. 2)Bank drafts, bank bills or cash issued by reputable banks in the People's Republic of China. 3)Bank transfer or wire transfer. Special Note: This item uses the above method 3). The tender margin must arrive at the designated account of the bidding agency before the opening of the tender, and the tender security deposit shall be deemed to have been submitted, and the bidder shall be invited to take full account of the time of the funds in transit when sending the money. Name: Jiangsu Hongye International Technology Engineering Co., Ltd Account opening bank: Bank of China Nanjing China Road Branch Account number:527460884999 |
| 16.1 | Bid validity period: 90 days from the date of opening of the tender. |
| *17.1 | Bidders shall submit copies and copies of the original tender documents, each set of tender documents shall clearly indicate the "original" or "copy". A copy of the tender document shall be a copy of the original. If the original does not match the copy, the original shall prevail. |
| *17.2 | The original tender document shall be printed or written in non-faded ink and signed by the legal representative or his officially authorized representative. The authorized representative shall attach the power of authority of the legal representative in writing to the tender documents. Except for printed documents that have not been modified, each page of the tender document shall be signed by the legal representative or his authorized representative in his or her last name or initials. Tender documents shall be binding in strict accordance with the requirements of the tender documents. |
| Fourth, the submission of tender documents |  |
| 18.2 | 1) Tender documents were submitted to: 2028 Bid Opening Room, 20th Floor, 50 Hongye Building, China Road, Nanjing |
|  | 2) Title of the tender invitation: Jianhu County Kangbo Medical Technology Co., Ltd. hemodialysis equipment and other medical equipment procurement projects Reference:1009-2141HOLLY12D/01 |
| 19.1 | Bid deadline:April 21, 2021 at 10:30 a.m.(Beijing time). |
| V. Opening and evaluation of tenders |  |
| 22.1 | Opening date:April 21, 2021 Time: 10:30a.m.(Beijing time). Location: Jiangsu Hongye International Technology Engineering Co., Ltd 2028 Opening Room, 2028, Hongye Building, 50 China Road, Nanjing |
| 23.1 | Bid evaluation method: the lowest bid evaluation method |
| 25 | Bid Currency: RMB In order to facilitate bid evaluation and comparison, if there are multiple currencies in the bid quotation, the median price of the tender currency pair rmb, which is authorized to be published by the Chinese Minmin Bank on the opening day, is converted to RMB. |
| 26.3 | In addition to quotations, consider quantifying the following factors when evaluating bids: 1）、2）、3）、4）、 |
| 26.4 .1 | Inland freight, insurance and other accompanying services that occur in China The Bid Evaluation Committee will calculate the cost of inland transportation, insurance and other anculation services for the arrival of goods from the factory to their destinations in accordance with the fees issued by the highway and other transport departments, insurance companies or other relevant agencies. For ease of calculation, bidders should provide the estimated size of the goods, the weight of shipment, and the estimated DDP price (RMB quote),CIP price (USD quotation) value for each contract package in the tender documents. |
| 26.4.2 | Delivery time: : days after the contract is signed The deviation of the delivery time Percentage adjusted (%each week of late delivery (including one week, less than one week is calculated on a weekly basis), the bid price will increase by0.5% (0.5%) of its bid offer. |
| 26.4. 3 | A deviation from the payment terms Annual interest rate: 10 percent(10percent). |
| 26.4.4 | Cost of spare parts and spare parts Bidders are required to provide a list and price of spare parts (including flammable parts) and special tools required for the normal and continuous operation (or use) of the goods during the warranty period. |
| 26.4.5 | Spare parts supply and after-sales service facilities in China: Please indicate. |
| 26.4.6 | Estimated operating and maintenance costs for tender equipment: not applicable |
| 26.4.7 | Equipment performance and productivity: See technical specifications. |
| 26.4.8 | (2) Other additional bid evaluation factors and criteria: 1.Any deviation from these*main terms (i.e. not satisfied with the following) ( ) in the tender documents will result in the rejection of the tender; 2,the tender documents are not filled with an asterisk ("" s)" for the general provisions.* For these general terms, a deviation of more than 6 items (including 6 items) from the tender documents will result in the rejection of the bid; 3,for each deviation of 1 item in the general terms, the bid price will be increased by 1% on the basis of its bid price; 4, bidsub-quotation form and technical specification deviation table must be produced in strict accordance with the requirements of the tender documents. If you bid for more than one device, you will need to bid separately in the bid quotation form. The technical deviation table shall respond to the list of cargo demands and technical specifications in Chapter VIII of this tender document. The business deviation form shall respond to the special terms of the contract in Chapter VII of this tender document article by article. If the commercial and technical response of the tender documents is not in accordance with this provision, the risk of the resulting rejection of the tender shall be borne by the bidder; 5,for the parameters set out in the technical specifications, technical support information must be provided in the tender documents, not provided, the evaluation of the bid will not be recognized (i.e., resulting in the rejection of the bid). Technical support materials shall be based on the printed materials published by the manufacturer or the inspection report issued by the testing institution. (The inspection report issued by the testing institution shall provide the original preparation when bidding and evaluating the bid.) For performance and technical terms required in the tender documents, such as technical white papers and color pages as supporting materials, please stamp each page of the white paper (including the cover) with the manufacturer's official seal or bid seal, and provide the name of the person with the official seal or tender seal on the white paper, in the manufacturer or manufacturer's relevant institutions department, job title, contact telephone number (office phone and mobile phone) and e-mail address, otherwise the evaluation will not be based on performance or technical parameters. |
| 6. Award of the contract |  |
| Increase | Note: Bidders must successfully register online before the tender deadline. Otherwise, the bidder will not be able to enter the tendering process effectively, and the consequences will be the responsibility of the bidders themselves. (China International Tendering Network website www.chinabidding.com). |
| 36.1 | Tender service charge: The winning bide shall pay the tender service fee to the tendering institution in accordance with the following criteria and regulations: (1 )The total amount of the winning bid as thebasis for the calculation of the charge as determined in the Notice of Winning bid . (2 )Tender servicecharges are charged by reference to State Planning Commission No. 1980 . (3 )Thebidding service fee is in the same currency as the bidding currency. (4 )How to pay the tender service fee : payment methods such as bill of exchange , bill of ( wire transfer or cash , payments from abroad )) . (5) If the winning bidder does not pay the bid service fee within 30 days of receiving the notice of winning , tender institution will confiscate its bid security deposit. |
| *Increase | Special tips: Bidders are required to carefully read the relevant provisions of The Tenderer's Note in Volume I of the Tender Documents,e.g. 9. n ofthe tender documents; tiondocuments; gin;17. . er. idders are required to do their own tender documents in accordance with the provisions of the tender documents, otherwise they will bear the risk of scrapping the tender. |
| Increase | (1 )The tenderdocuments must be glued and the binder binding shall be treated as invalid tender documents . (2 ) "Openinglist", "original tender documents" and "copy of tender documents" shall be sealed separately and submitted separately. (3 )"Opening bid list", "original tender documents", "copy of tender documents" on the envelope marked"opening list", "original tender documents", "copy of tender documents". (4) All envelopes must be written in the following format : Purchase document number: Name of the purchased item: Bidder's full name, address, zip code and telephone number. And the words "shall not be unsealed before (the bid deadline) " is written. (5 ) Ifthe tenderdocuments are not sealed in accordance with the above provisions , the purchasing agency will refuse to accept them . |

Chapter 7

Contract-specific terms

Contract information sheet

The specific information in this table on the goods to be procured is a specific supplement to and modification of the terms of the contract, and if there are contradictions, this information sheet shall prevail.

| Terms number | Internal capacity |
| --- | --- |
| 1.1.1 | Before signing the contract, the seller shall provide the buyer with a detailed list of the configuration of the goods for acceptance upon delivery. |
| 1.1.3 | Hemodialysis equipment and other medical equipment procurement projects |
| *1.1.7 | Buyer's name: Jianhu County Kangbo Medical Technology Co., Ltd Name of foreign trade agent: Jiangsu Hongye International Technology Engineering Co., ( be imported from the People's Republic of China, foreign trade agent is Jiangsu Hongye International Technology Engineering Co., Ltd.) |
| 1.1.8 | Seller's name: TBD |
| 1.1.10 | Project site: Jianhu County Kangbo Medical Technology Co., Ltd |
| 4.1 | The goods delivered under this contract shall comply with the standards and technical requirements set out in the technical specifications of the solicitation documents. If the applicable standards are not mentioned in the technical specifications of the solicitation documents, the following criteria should be met: 1)The latest valid version of the People's Republic of China National Standards / International Standards / Ministerial Standards relating / to the / and acceptance of contracted goods; 2) Confirmedby the buyer, the seller provides with the tender documents, the latest valid version of the official standards of the country of manufacture of the goods in connection with the manufacture and acceptance of the contract goods; 3)The goods acceptance outline provided by the seller with the tender documents, after confirmation by the buyer, will be used as one of the basis for acceptance of the goods; 4)The commitment made by the seller when it requested the tender documents, confirmed by the buyer, will be used as one of the basis for acceptance of the goods. |
| 7.1 | This article does not apply. |
| 7.3 | This article does not apply. |
| 10.1.5 | Port of destination: Nanjing Port, China |
| 13 | The goods should be accompanied by the following information: (1) Bill of Lading (2) Two sets of originals and three sets of copies of the packing slip/weight list issued / by the manufacturer (3) Two certificates of quality and quantity issued by the manufacturer (4) The seller's statement of wooden packaging: the wooden packaging is marked with an IPPC logo that complies with the requirements of Standard 15 of the International Phytosanitary Measures, with the corresponding box number (5) Two sellers sign certificates of origin |
| 16 | Accompanying services: 1. Provide random spare parts and easy parts needed to ensure the normal operation of the goods during the warranty period. 2. Provide the special tools required for installation and maintenance; 3. The equipment sold requires a declaration that no export license is required. 4. Before delivery, the manufacturer shall carry out accurate and comprehensive inspection of the technical performance parameters of the goods and issue a test report proving that the goods are in conformity with the technical documents parameters in the tender documents. 5. At the time of delivery, the seller shall provide all technical documents required for the installation and routine operation and maintenance of the contract goods, including, but not limited to, the following: 1) Proof of origin of goods, quality certificate, pre-factory inspection report and other information. 2) Technical information on the operation and maintenance training of the buyer's personnel. 3) Purchase instructions, product certificates, product safety certificates, etc. 4) The way the cargo control system is programmed, the normal operation of the management software, upgrade software and special magnetic cards, etc., and other technical documents and electronic documents. The above technical information requires a comparison between Chinese and English, in four copies. 6. Responsible for or directing the installation (including the place of the goods, on-site assembly, etc.); 7. Responsible for commissioning until it is delivered through acceptance by the buyer and the relevant departments; 8. Installation and commissioning and formal training: free of charge. 9. Provide quality "three-pack" after-sales service and life-long security services. Sellers in the country must have after-sales service agencies and facilities, can provide fast repair services and spare parts supply,otherwise the bid price of1%. 10. If the abnormal wear and tear of components occurring during the warranty period, or the quality of the finished product does not meet the requirements of the production process, or if the parts, electronic components and defective parts are damaged or failed for non-human reasons, the seller shall provide services free of charge and replace the above-mentioned parts, electronic components, spare parts and defective parts free of charge. Provide up-to-date technical information and information on the use and maintenance of contract goods. |
| 17.2 | Spare parts requirements: With Article14.3(2)ofthe TenderInformation Form. /b14> During the warranty period, in the case of non-human-caused damage, the portion of the spare parts actually required by the buyer beyond the scope of the list shall be provided free of charge by the seller. Within 10 years of the sale of the equipment, the bidder will guarantee the supply of spare parts at the buyer's expense. |
| *18.2 | Warranty: The original free warranty ≥1 year. |
| 18.4 | Response period for free repair or replacement of defective goods or parts: The seller responds within one month of receiving the buyer's notice. |
| 20.1 | Payment methods and conditions: Payments are made in RMB through the bank and are remitted to the winning party's basic bank account. The specific payment progress is as follows: all supply installation, commissioning completed and approved by Party A organization within three months, pay the contract price to 90%, normal operation of twelve months,in equipment and other obvious quality problems, the balance after the warranty period and equipment without obvious quality premise to pay (the above payments are interest-free). |
| 21 | Price: The total contract price and the item price must be stated. 1)Quotations for "Goods Demand List", "Technical Specifications" and scope of supply as requested by the buyer. 2)Bidders shall list the equipment body, auxiliary machinery, spare parts and special tools, technical documents sub-price. 3)Dedicated magnetic card, software costs, if provided for a fee, please list the price in detail, and included in the bid quotation. 4)With the spare parts and special tools and fragile parts provided with the goods, please list the name, modelspecifications, functions, quantity, unit price in detail, and include in the tender quotation. 5)All accompanying services for the goods provided, if provided for a paid purpose, please list the price in detail and include them inthe tender quotation; Otherwise, the bid is evaluated as a missing item. 6)If the bidder can provide an option to increase the function of the goods, please list the , model specification, function, quantity, unit price, manufacturer in detail, not included in the tender quotation for the buyer's reference. 7) If the maintenance service seller provides it for a fee, please report the annual "big package" and "clean-up" maintenance filing fees in the tender documents, respectively. |
| 32.2 | Settlement of disputes: China International Economic and Trade Arbitration Commission(CIETAC). Place of arbitration: : Beijing. |
| 34 | Applicable law: The law of the People's Republic of China. |
| 35 | Seller notice delivery address: Jianhu County Second People's Hospital |
| Special Note: Any deviation from Articles 32and 34 will be considered a non-material response to the request for solicitation documents. If there is a conflict between the Chinese and English tender documents, Chinese shall prevail. |  |

Chapter 8

List of goods demand and

Technical specifications

A list of cargo needs and technical specifications

First, a list of goods demand

| Package number | The name of the goods | Quantity / Table | Unit price / yuan | Budget / yuan |
| --- | --- | --- | --- | --- |
| 1 | Hemodialysis equipment | 21 | 15 | 315 |
|  | Hemodialysis filter device | 9 | 25 | 225 |

Second, technical specifications

1, hemodialysis equipment basic functions and parameters

One. Feature configuration

*1. d atltrafiltration accuracy is controlled at ±1%.

2. Display system: color LCD screen.

3. Real-time parameters show: arterial pressure, venous pressure, blood flow, clearance rate, cumulative heparin, time, ultrafiltration rate, cumulative ultrafiltration.

*4. em. ialysis fluid is configured through the capacity ratio system.

*5. ress test after , blood monitoring section with dynamic and intravenous pressure monitoring function.

6. With visual three color warning lights, sound and light alarm indication, can help medical care timely and accurate judgment of different clinical conditions.

7. Chemical disinfection and thermal disinfection. Disinfect, decalcification can be done at once.

8. Dialysis fluid is suitable for different formulations, internal multi-conductivity automatic control ratio.

9. Standard configuration of automated operating : blood , pipeline recirculation procedures, replacement of new pipeline procedures, with a variety of auxiliary pre-flush procedures, according to the needs of the department to set the pre-flush and pre-flush speed, simplify clinical operation, with fully automatic pre-flush function, can automatically adjust the pump speed.

10. A digital computer information network interface is available to provide data output and communication from dialysis machines.

11. Power supply: AC,220V(±10%),frequency:50-60Hz.

12. Blood pump: Blood flow 0to600 ml/min.

13. Dialysis fluid flow range:300-800ml/min. Temperature: : Adjustable 35-39 degrees C.

14. Ultrafiltration rate: 0-4.0L/H, ultrafiltration: adjustable between 0-10.00L.

15. Air detection: ultrasonic detection to prevent bubbles from entering the patient's body, with a blood judge, to avoid accidental blood loss when blood is introduced to the machine, to ensure the safety of treatment.

16. Thermal disinfection meets clinical requirements.

*17. se.

*18. line Kt/V monitoring device is standard, the on-line electronic blood pressure monitoring device is standard, and the dialysis ultra-pure filter device is standard.

19. Original imported machinery.

2, hemodialysis filtered the basic functions and parameters of the equipment

One. Feature configuration

*1. d atltrafiltration accuracy is controlled at ±1%.

2. Display system: color LCD screen.

3. Real-time parameters show: arterial pressure, venous pressure, removal rate, blood flow, cumulative heparin, time, ultrafiltration rate, cumulative ultrafiltration.

*4. em. ialysis fluid is configured through the capacity ratio system.

*5. ress test after , blood monitoring section with dynamic and intravenous pressure monitoring function.

6. With visual three color warning lights, sound and light alarm indication, can help medical care timely and accurate judgment of different clinical conditions.

7. Chemical disinfection and thermal disinfection. Disinfect, decalcification can be done at once.

8. Dialysis fluid is suitable for different formulations, internal multi-conductivity automatic control ratio.

9. Standard configuration of automated operating : blood , pipeline recirculation procedures, replacement of new pipeline procedures, with a variety of auxiliary pre-flush procedures, according to the needs of the department to set the pre-flush and pre-flush speed, simplify clinical operation, with fully automatic pre-flush function, can automatically adjust the pump speed.

10. A digital computer information network interface is available to provide data output and communication from dialysis machines.

11. Power supply: AC,220V(±10%),frequency:50-60Hz.

12. Blood pump: Blood flow 0to600 ml/min.

13. Dialysis fluid flow range:0-1000ml/min. Temperature: : Adjustable 35-39 degrees C.

14. Ultrafiltration rate: 0-4.0L/H, ultrafiltration: adjustable between 0-10.00L.

15. Air detection: ultrasonic detection to prevent bubbles from entering the patient's body, with a blood judge, to avoid accidental blood loss when blood is introduced to the machine, to ensure the safety of treatment.

16. Thermal disinfection meets clinical requirements.

*17. Multiple leak sensors are used to detect leaks outside the body or inside the machine for safe treatment.

*18. flow . When HDF is treated, the replacement fluid rate can be set automatically to match the effective blood flow.

*19. line Kt/V monitoring device is standard, the on-line electronic blood pressure monitoring device is standard, and the dialysis ultra-pure filter device is standard.

20. Original imported machinery.