中 国 远 东 国 际 招标有限公 司

CHINA FAR EAST INTERNATIONAL TENDERING CO., LTD

# TEL: 010- 64270624                               FAX: 010- 64204400

| To: |  | From: Gao Guangshun |
| --- | --- | --- |
| Attn: | Our Ref: Clarification | Your Ref: |
| Fax No.: | Date: 04/01/2025 | Page(s):2 |

对利用欧洲投资银行贷款呼和浩特市燃煤锅炉“煤改气”项目应急、抢险设备及工器具采购项目（招标编号: 0722-256FE3337ZB4）招标文件的澄清（N0.002）

Clarification For Hohhot Energy Efficiency Project (Project No 2016-0279) Supply of Emergency & Rescue Equipment and Tools

According to Bidding Document Section I.  Instructions to Bidders 7.1, now we send the Clarification as follows:

The original bidding document (Part 2: Employer's Requirements Technical Specifications)：

25) Handheld Combustible Gas Leak Detector

| No. | Name | Description | Bidder’s Technical Response Parameters |
| --- | --- | --- | --- |
| 1 | Configuration | Battery, charger, power supply, carrying case, instruction manual |  |
| 2 | Main parameters | Detected gas: Propane (CH4) Sampling method: natural diffusion Response time: < 5S Sensitivity: Better than 50umo1/mgl. Explosion-proof grade: ExiaIICT3Ga |  |

After amendment:

25) Handheld Combustible Gas Leak Detector

| No. | Name | Description | Bidder’s Technical Response Parameters |
| --- | --- | --- | --- |
| 1 | Configuration | Battery, charger, power supply, carrying case, instruction manual |  |
| 2 | Main parameters | Detected gas: Methane (CH4) Sampling method: natural diffusion Response time: < 5S Sensitivity: Better than 50umo1/mgl. Explosion-proof grade: ExiaIICT3Ga |  |

原招标文件（第二部分：业主要求）：

25.手持式可燃气体检漏仪

| 序号 | 名称 | 描述 | 投标人所供设备技术响应参数 |
| --- | --- | --- | --- |
| 1 | 配置 | 电池、充电器、电源、便携包，说明书 |  |
| 2 | 主要参数 | 检测气体：丙烷（CH4） 采样方式:自然扩散 响应时间:＜5S 灵敏度:优于50umo1/mgl 防爆等级：ExiaIICT3Ga |  |

现变更为：

25.手持式可燃气体检漏仪

| 序号 | 名称 | 描述 | 投标人所供设备技术响应参数 |
| --- | --- | --- | --- |
| 1 | 配置 | 电池、充电器、电源、便携包，说明书 |  |
| 2 | 主要参数 | 检测气体：甲烷（CH4） 采样方式:自然扩散 响应时间:＜5S 灵敏度:优于50umo1/mgl 防爆等级：ExiaIICT3Ga |  |

其他内容保持不变。

Others Keep Unchanged.

中国远东国际招标有限公司

China Far East International Tendering Co., Ltd.

请贵公司确认收到澄清邮件后在第一页上书写“已收到澄清”并签字加盖公章，以确认收到本澄清。于2025年4月1日17：00前扫描后发邮件至我公司(邮箱：otnmxm@126.com)。