international tender document

Project Name: Second Phase of the 3D 4K Fluorescent Thoracoscopic Video System Introduction Project at the First Affiliated Hospital of Nanchang University

Tender No.: 1493-254112111136

(Volume 2)

Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd.

China·Nanchang

catalogue

Chapter 5 Invitation to Bid 3	3

Chapter 6 Bid Document Form 5	5

Chapter 7 Special Clauses of the Contract 13	13

Chapter 8 List of Goods Requirements and Technical Specifications 14	14

# Chapter 5 Invitation to Bid

Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd. (hereinafter referred to as the 'Tendering Agency') has been commissioned by the purchaser to invite qualified bidders to submit sealed tender documents for the following goods and related services:

I. Bidding Conditions

1. Project Overview: Introduction of Medical Equipment to Meet Hospital Development Needs

2. Status of fund availability or source confirmation: Self-raised funds by the unit

3. Explanation of project eligibility for tender: Funds have been secured

II. Bidding Content

1. Bidding Number: 1493-254112111136

2. Name of the Tender Project: Second Round of the Project for the Introduction of 3D and 4K Fluorescent Thoracoscopic Video Systems at the First Affiliated Hospital of Nanchang University

3. Project implementation location: Nanchang City, Jiangxi Province

4. Qualified domestic products may participate in the bidding.

5. List of Tendered Products (Key Equipment):

| Purchase plan approval | product name | quantity | Brief technical specifications | purchase budget （ Renminbi ： Wan Yuan ） | ceiling price （ Renminbi ： Wan Yuan ） |
| --- | --- | --- | --- | --- | --- |
| Gan Gou 2025B000150367 | China-Japan Friendship Hospital Jiangxi Branch Procures 3D/4K/Fluorescence Integrated Thoracoscopic Video System | 1 unit | See the tender documents for details | 400.00 | 336.00 |

3. Bidder Qualifications or Performance:

1. Class II and III medical devices must possess a Medical Device Registration Certificate, while Class I medical devices must have a Product Filing Registration Certificate;

2. Class II and III medical devices manufactured within the territory of the People's Republic of China shall possess a Medical Device Production License, while Class I medical devices shall possess a Medical Device Production Filing Certificate.

3. Entities engaged in the operation of Class III medical devices must possess a Medical Device Business License, while those operating Class II medical devices must hold a Medical Device Business Filing Registration Certificate;

4. If the imported goods submitted by the bidder are not manufactured by the bidder, the bidder shall obtain the manufacturer's official authorization or distribution license to supply such goods in this tender.

5. Consortium bidding is not accepted for this project.

6. Bidders who have not obtained the tender documents are not eligible to participate in the bidding.

IV. Acquisition of Tender Documents and Submission of Bids

1. Tender documents will be available for purchase from December 30,2025, until January 12,2026. The daily collection period (excluding holidays) is from 9:00 AM to 4:00 PM (Beijing Time).

2. How to obtain the tender documents: You may either collect them from Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd. or email the required materials to their official address (jxcxwygs008@126.com).

3. Bid submission deadline (bid opening time): 9:30 AM on January 20,2026 (Beijing Time);

4. Submission and opening of tender documents: Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd. (4th Floor, Office Building, Nanchang Qingshanhu Investment Group Co., Ltd., 2119 Beijing East Road, Nanchang, Jiangxi Province) – Bid Opening Room.

5. Other requirements for bidders: Bidders must complete registration on the Bi Network (http://www.ebnew.com) (or the Electronic Trading Platform for Mechanical and Electrical Products Bidding and Tendering (http://www.chinabidding.com)) before bidding, otherwise they will not be able to participate in the bidding. Suppliers must register on the Jiangxi Public Resources Trading Network (URL: http://jxsggzy.cn/) and obtain the Jiangxi CA digital certificate, electronic signature, and information verification before bidding. For specific requirements, please refer to the "Jiangxi Government Procurement Network" (URL: http://www.ccgp-jiangxi.gov.cn/web/). The evaluation results will be announced on the Bi Network, China International Tendering Network, and the Jiangxi Public Resources Trading Network.

6. A separate electronic version of the tender document (stamped with the company seal) must be submitted, stored on a sealed USB drive and stamped with the company seal. The envelope must display the procurement number, project name, and the name of the tendering supplier, along with the label "Electronic Tender Document".

5. Contact Information

1. Tenderer: The First Affiliated Hospital of Nanchang University

Address: No.17 Yongwai Main Street, Nanchang City, Jiangxi Province

Contact: Teacher Zhou

Contact: 0791-88692281

2. Tendering agency: Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd.

Address: 4th Floor, Nanchang Qingshanhu Investment Group Co., LTD. Office Building, No.2119, Beijing East Road, Nanchang City, Jiangxi Province

Postal code: 330000

Contacts: Yang Chen, Zhang Wei, Liu Leizhen, Chen Jian, Zhang Qian

Contact number: 0791-83810722;

Email: jxcxwygs008@126.com

VI. Methods of Remittance

Account Name: Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd.

Bank of China (RMB): Business Department, Honggutan Branch, Nanchang City

Bank account: 193228263586

# Chapter 6: Bid Document Form

Bid Data Sheet

The detailed specifications for the goods to be procured in this table constitute a specific supplement and amendment to the Instructions to Bidders. In case of any discrepancy, this table shall prevail.

| regulation number | content |
| --- | --- |
| I. Description |  |
| 1.2 | Project Name: Second Phase of the 3D/4K Fluorescent Thoracoscopic Video System Introduction Project at the First Affiliated Hospital of Nanchang University Tender No.: 1493-254112111136 |
|  | Purchaser Name: The First Affiliated Hospital of Nanchang University Address of purchaser: No.17 Yongwai Main Street, Nanchang City, Jiangxi Province Contact number for the purchaser: 0791-88692281 |
|  | Procurement agency: Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd. Address: 4th Floor, Nanchang Qingshanhu Investment Group Co., LTD, No.2119, Beijing East Road, Nanchang City, Jiangxi Province Bank: Bank of China Nanchang Honggutan Branch Business Department Account number: 193228263586 |
| 1.3 | funds in the hands of the localities 。 |
| 2.2 | Unless otherwise specified, all legal entities or organizations from the People's Republic of China or countries/regions with regular trade relations with China (hereinafter referred to as "qualified source countries/regions") are eligible to submit bids. |
| 2.8 | Bidders shall successfully register on the China International Bidding Network (hereinafter referred to as "the Bidding Network", URL: http://www.chinabidding.com) before the bidding deadline specified in the bidding documents. Otherwise, bidders will not be able to enter the bidding process, and the consequences thereof shall be borne by them. |
| II. Tender Documents |  |
| 5.2 | The required goods, bidding procedures, and contractual terms are specified in the tender documents. The paper tender documents hold equal legal validity as the electronic versions. Unless otherwise stipulated, any discrepancies between the two shall be governed by the paper tender documents. |
| 6.1 | 5 If a potential bidder requests clarification regarding the tender documents (including any amendments), they must submit a written notice to the tenderer or tender agent at least 10 days prior to the bid submission deadline. |

| 7 | Potential bidders who have obtained the tender documents shall review the tender documents (including any clarifications or amendments made to them). If any party disagrees with the content, they must submit a written objection to the tenderer or tendering authority at least 10 days before the bid submission deadline, and upload the objection details to the official tendering website. |  |
| --- | --- | --- |
| III. Preparation of Tender Documents |  |  |
| 8 | Bid documents must be in Chinese or bilingual Chinese-English translation, with the Chinese version taking precedence in case of any discrepancy. |  |
| 11.5 | The maximum bid limit for this tender is RMB 3.36 million. Any bid exceeding this limit will be rejected. |  |
| 11.6.1 | Bidding price for goods supplied from the territory of the People's Republic of China: EXW price Related costs: expenses for customs clearance, insurance, and related services during the transportation of goods to the final destination. |  |
| 11.6.2 | Bidding quotation for goods supplied from outside the People's Republic of China: CIP (The First Affiliated Hospital of Nanchang University) Related costs: expenses for customs clearance, insurance, and associated delivery of goods to the final destination. |  |
| 12.1 | Currency of bid: quotation in RMB for goods and services provided within the territory of the People's Republic of China. |  |
| 12.2 | Currency of bid: US dollars or other internationally circulated currencies for goods and services provided outside the People's Republic of China. |  |
| 13.1 | Consortium bidding: Consortium bidding is not accepted for this project. |  |
| 13.2 | The qualification documents submitted by bidders must demonstrate that they originate from the qualified source countries/regions specified in Clause 2.2 of this tender documentation. |  |
| 13.3 | The qualification documents submitted by the bidder to demonstrate contract performance capability after winning the bid shall include the following: 1. If the bidder is not the manufacturer of the goods being bid for, they must provide a valid authorization letter or distribution license issued by the manufacturer (or its domestic general agent) for this tender. 2. Supporting documents (if applicable) demonstrating the bidder's compliance with performance requirements; 3. The original or a copy of the credit certificate issued by the bidder's bank within three months prior to the bid opening date; |  |
| 14.3 | 1. Spare parts (including consumables) required for one year of normal operation after final acceptance of goods; 2. Provide a list of spare parts (including consumables), unit prices, manufacturer information, and relevant documentation. |  |
| 15.1 | Bid bond amount: RMB 33,600 (Thirty-three thousand six hundred yuan). The deadline for submitting the bid bond is the same as the deadline for submitting the bid documents. [Note: The remittance must specify "25-1136 deposit" and will only be confirmed upon arrival] |  |
| 15.3 | Bid bond acceptance methods: bank transfer, bank remittance, bank draft, or bank guarantee. For projects legally required to undergo bidding, domestic bidders submitting bid bonds via bank remittance or transfer must remit the funds from their primary account to the designated tendering agency. |  |
| 16.1 | Bid validity period: The bid remains valid for at least 90 days from the deadline for submitting bid documents. |  |
| 17.1 | Number of copies of the tender documents: 4 copies, each being a photocopy of the original. Electronic tender documents: A single sealed copy of the tender document (with official seal) must be submitted, stored on a USB drive and properly sealed. The cover must display the procurement number, project name, and the name of the tendering supplier, along with the label 'Electronic Tender Document'. |  |
| 17.2 | The original tender documents must be printed or written in permanent ink and signed by the unit's responsible person or their duly authorized representative. The authorized representative must attach a written "Authorization Letter from the Unit's Responsible Person" to the tender documents. Unless otherwise specified in the tender documentation, every page of the tender documents shall be signed by the unit's responsible person or their authorized representative using their full name or initials. |  |
| IV. Submission of Tender Documents |  |  |
| 19.1 | Deadline for submitting bids and address for submission: see "Bid Invitation" for details |  |
| V. Bid Opening and Evaluation |  |  |
| 22.1 | Date, time, and location of bid opening: see "Bid Invitation" for details |  |
| 22.3 | If a bidder has objections to the bid opening, they must raise them on-site, and the tenderer shall respond immediately while documenting the matter. |  |
| 23.2 | Evaluation method: lowest bid price method. |  |
| 25.1 | Bid evaluation currency: The exchange rate shall be uniformly converted to RMB based on the foreign currency to RMB spot selling rate first published by Bank of China headquarters on the bid opening date. |  |
| 26.3 | Quantitative factors for bid evaluation: Refer to Bidder's Instructions 26.3 1),2),3),4),5),7),8) |  |
| 26.4.1 | The selected options for inland transportation fees, insurance fees, and other ancillary service costs incurred within the territory of China: 2) The bidder shall cover all domestic transportation, insurance, and ancillary service costs incurred during delivery of tender documents from the factory or import port to the specified project site. |  |
| 26.4.2 | Option for delivery schedule deviation: 2) Early delivery without discounting the bid price. Bids delivered outside the specified timeframe will be deemed non-responsive. |  |
| 26.4.3 | Alternative payment terms: 1) Bidders shall quote prices in accordance with the payment terms specified in the contract documentation. The bid evaluation will be based on this quoted amount, provided that bidders may submit alternative payment plans with justification for the potential price reduction. The evaluation committee may consider such alternative payment plans from successful bidders. If the committee rejects the alternative plan, the bid evaluation price shall be increased by one percent (1%) from the original bid price. |  |
| 26.4.4 | Cost calculation method for components and spare parts: 1) The bidder shall attach to the technical specifications a list of components and the names and quantities of necessary spare parts specified in Clause 14.3 of the tender documentation, calculate the total cost based on the unit prices stated in the tender documents, and include this amount in the bid price. |  |
| 26.4.5 | China spare parts supply and after-sales service facilities within the customs territory If the bidder does not have maintenance service facilities and spare parts warehouses within the territory of China, the tenderer will consider the costs required to establish the minimum maintenance service facilities and spare parts warehouses, and these costs will be included in the bid evaluation price during the bid evaluation. |  |
| 26.4.6 | Estimated operation and maintenance costs for the bid equipment: Not applicable. |  |
| 26.4.7 | Bid equipment performance and productivity: Selected option: 2) 1. Bidders shall provide technical support documentation for key technical clauses or parameters marked with an asterisk ("*") in their tender documents. Such documentation shall be in the form of publicly available printed materials from the goods' manufacturer, test reports issued by testing institutions, or other formats permitted in the tender documents. Documentation failing to meet these requirements shall be deemed invalid. In case of discrepancies between publicly available materials and test reports, the latter shall prevail. 2. If the technical specifications of the bid goods fall below the parameters marked with a # in the tender documents, the bid evaluation price will be increased by 1% for each minor item based on the original bid price. 3. If the general technical indicators in the technical specifications are lower than those in the tender documents, the bid evaluation price will be increased by 0.5% per sub-item based on the bid price. |  |
| 26.4.8 | Other additional evaluation factors and criteria: Not applicable |  |
| 26.5 | Recommendation procedure for shortlisted candidates: Provided that the submitted bids meet the substantive requirements (e.g., commercial and technical specifications) in the tender documents, the evaluation committee shall determine each bidder's final bid price in accordance with Clause 26.4.7 on price evaluation. Based on the number of shortlisted candidates specified in the bid documentation, the committee will rank bidders by their bid prices in descending order to select the shortlisted candidates. The bidder with the lowest bid price will be designated as the top-ranked shortlisted candidate. |  |
| VI. Award of Contract |  |  |
| 36.1 | Procurement agency service fee: 1. The successful bidder shall pay the procurement agency service fee to the tendering agency upon receiving the bid award notice. 2. The procurement agency service fee is calculated using a progressive differential rate method, with the fee structure as shown in the table below: (bid amount × fee rate) × 60%. Procurement agency service fee payment account: Account opening unit: Jiangxi Chengxin Weiye Tendering Consulting Co., Ltd. Nanchang Branch Bank of account: China Construction Bank Corporation Limited Nanchang Branch Account: 36050153015000002158 |  |
|  | Bid amount (RMB ten thousand) | tariff rate of bidding for goods |
|  | 100 (inclusive) | 1.5% |
|  | 100-500 (inclusive) | 1.1% |
|  | 500-1000 (inclusive) | 0.8% |
|  | 3. The procurement agency service fee shall be denominated in the same currency as the contract signed upon award of the bid, or paid in RMB (converted at the Bank of China's published exchange rate on the bid opening date). Payment may be made by check, bank draft, or cash. |  |
| Additional changes to the bidder's notice: Potential bidders who have obtained the tender documents must submit the following materials to the tender agent for verification within three days prior to the bid submission deadline. Failure to submit the required materials within the specified period will result in all consequences being borne by the bidder. The final validity of the materials shall be determined by the information provided in the tender documents. The verification materials are as follows: 1) Authorization letter from the unit head; 2) Qualification Statement; 3) Manufacturer qualification statement; 4) Qualification statement of the trading company (acting as agent) (if applicable); 5) Authorization letter issued by the manufacturer (if applicable); 6) Certificates; 7) The original credit certificate issued by the bidder's bank within three months prior to bid opening, or a copy thereof, must be submitted as part of the tender documents. |  |  |

addendum ：

Bid bond certificate and refund information

project name ：

Tender No.: Package No.: (if applicable)           Tender No.: Package No.: (if applicable)

| Bidder name: |  |
| --- | --- |
| Amount of deposit: (in words) | (Unit: Yuan) |
| Bank name of the bidder: (Specify the full name of the bank, no abbreviations allowed.) |  |
| Account number of the bidder's bank: |  |
| Bidder tax identification number: |  |
| Bidder address: |  |
| Contact: Phone: Contact: Phone: |  |

Note: Please complete the above information as required. If any errors result in the deposit not being refunded promptly, the bidder shall bear the responsibility.

Enclosure: A stamped copy of the bid bond certificate

# Chapter VII Special Clauses of the Contract

This table provides specific details for the goods to be procured, serving as a supplement and amendment to the general terms of the contract. In case of any conflict, this table shall prevail.

| regulation number | content |
| --- | --- |
| 1.1 | Buyer name: address ： Project site name: |
| 7.1 | Performance bond amount: Not applicable Performance bond currency: Not applicable |
| 7.3 | Form of performance bond: Not applicable |
| 11 | Destination port: China·Nanchang Port |
| 16.1 | Accompanying services to be provided: see technical specifications |
| 17.2 | Spare parts requirements: 1. Provide a list of spare parts (including consumables) required for the goods' normal operation over ten years, with their fixed prices. 2. When production of spare parts and consumables is suspended, the seller shall maintain a supply of spare parts sufficient for the buyer's needs for 5 to 10 years. |
| *18.2 | Warranty period: five years after the final acceptance of the contract goods. |
| 18.4 | The seller must provide free repair or replacement of defective equipment or parts within 24 hours after receiving the buyer's official notice, with the engineer required to arrive on-site. |
| *20.1 | Payment method and terms: Upon successful acceptance of the complete unit, all auxiliary equipment and spare parts by the purchaser, and receipt of a valid, equivalent, and tax-paid invoice from the winning supplier, the initial payment of 90% shall be made, with the remaining 10% payable within one year after final acceptance. |
| 21 | The fees for goods submitted under this contract and ancillary services performed shall be included in the total bid price. |
| 35 | Address for seller's notice: contact number ： portraiture ： zip code ： |

# Chapter 8 List of Goods Demand and Technical Specifications

## I. List of Goods Demand

| description content | 3D 4K Fluorescence Thoracoscopic Video System |
| --- | --- |
| general requirement | New original equipment |
| quantity | 1 unit |
| * date of delivery | Within 90 days after the contract is signed |
| delivery point | The First Affiliated Hospital of Nanchang University |
| erecting bed | The First Affiliated Hospital of Nanchang University |

## II. Technical Specifications

1. Host System

1.1 The host's output resolution must be at least 3840×2160 with progressive scan.

1.2 Field of view (FOV) ≥82°;

1.3 The host and triple-lens system support 3D 4K fluorescence technology;

1.4 Features a 20-200mm effective depth of field, dual 4K imaging sensors, and dual resolutions of ≥3840×2160;

1.5 Image color gamut range BT.2020;

1.6 Single-Host Dual-Mirror Combined Function: Enables dual-mirror combined operation on a single host, allowing simultaneous display of different surgical procedures on a single screen to meet clinical dual-mirror requirements.

1.7 The triple-camera system weighs ≤420g, ensuring a lightweight and comfortable grip.

1.8 The 4K fluorescent camera weighs ≤260g, ensuring a lightweight and easy-to-hold design.

★1.9 Modular Design of the Host Unit: The core host equipment can be equipped with same-brand hard lens modules and soft lens modules. Additional modules can be installed to enhance functionalities, enabling unlimited expansion. This includes electronic ureteroscopes, electronic cystoscopes, electronic nasopharyngoscopes, etc.

1.10 No fewer than five development modes: including overlap fluorescence mode (green/blue optional), black-and-white fluorescence mode, and intensity navigation mode;

1.11 Enables the combination of ICG fluorescence and electron staining to achieve dual staining;

1.12 The host can be operated and configured via camera and keyboard, offering at least 15 functions including white balance, photography, video recording, brightness adjustment, and image rotation.

★1.13 The same brand and platform support ≥8 types of ICG fluoroscopic endoscopes, such as fluoroscopic thoracoscopy, fluoroscopic neuroendoscopy, fluoroscopic otolaryngoscopy, and fluoroscopic external endoscopy, enabling fluoroscopic surgeries across various specialties;

1.14 The non-visible light emitted after the ICG (indocyanine green) contrast agent binds with hemoglobin and is irradiated by near-infrared light;

1.15 The camera's shortcut key allows switching between different color fluorescence modes.

1.16 Automatic illumination function: Eliminates the need for additional light sources, ensuring no dark areas in the surgical field and guaranteeing surgical safety; reduces the frequency of mirror insertion and removal, thereby improving surgical efficiency.

1.17 Boundary enhancement function: No additional light source is required to improve contrast between different tissues, facilitating the differentiation of critical structures such as blood vessels and nerves.

1.18 Blue light staining function: Without the need for additional light sources, it utilizes spectral filtering principles to achieve deep visualization of the submucosal vascular network, enabling diagnosis of early-stage tumors.

1.19 Red light staining function: Without additional light source, it utilizes the differential characteristics of visible light spectrum on mucosa and blood vessels to significantly enhance contrast at different levels;

1.20 Graphical menu design: The graphical menu allows convenient control of all major functions.

1.21 Flexible configuration: The panoramic lighting, boundary enhancement, and light coloring functions can be freely combined and activated.

1.22 The host can process two image signals simultaneously, displaying both standard and enhanced images side by side.

1.23 Equipped with a centralized control interface, it enables centralized operation, allowing the manipulation of surgical equipment such as cold light sources and pneumoperitoneum machines via cameras, and facilitates seamless integration with other integrated operating rooms of the same brand.

1.24 Field of View (FOV) Reversal Function: The FOV can be rotated vertically, horizontally, and 180°.

★1.25 output ports: 2 DP digital ports, 112G/3G-SDI digital port, and 1 DVI-D digital port;

1.26 Equipped with an IPM anti-overflow red processing module, ensuring image brightness remains stable during bleeding events.

★1.27 Modular host design enables upgrades to the latest endoscopic technologies (e.g., 3D sinus endoscopes and 3D external view endoscopes) of the same brand through subsequent module additions.

1.28 Electrical Safety Certification Level: Both the camera and its host, as well as the electrical safety certification for medical devices, must meet CF-1 class standards, which is applicable to cardiac surgical equipment.

1.29 The camera host and light source are not integrated in design, ensuring stable operation, flexible configuration, and improved utilization and safety of the equipment.

1.30 The host features a surgical field magnification function when using 4K fluorescence, with ≥3× magnification and ≥7 adjustable levels, equipped with adaptive zoom capability.

1.31 The integrated system of the same brand enables centralized parameter control and configuration for the host, cold light source, and air-bag machine.

1.32 Compatible with other devices of the same brand, including laparoscopes, thoracoscopes, hysteroscopes, ventriculoscopes, arthroscopes, intervertebral foramen endoscopes, otoscopes, and nasal endoscopes, ensuring interoperability within the same brand system.

2. Original Full HD Graphic Workstation

2.1 Built-in: The camera host is equipped with ≥4 USB ports, allowing the recording of 3840×2160 HD images and 1080P video recordings by simply plugging in a USB drive or external hard drive, with full control over the entire process via the camera operated by the surgeon.

III. Cold Light Sources

★3.1 The light source employs LED technology, with both white light and fluorescent light generated through LED technology, eliminating the use of laser technology to ensure maximum safety for medical personnel.

3.2 Color temperature ≥5700K;

3.3 The bulb lifespan is ≥30,000 hours;

3.4 Safety rating: CF class, suitable for direct use in cardiac surgery;

3.5 The same brand as the camera system.

IV. Medical Monitors

4.1 Active matrix LED LCD display;

4.2 Size: ≥32 inches

4.3 Resolution: Minimum resolution ≥3840×2160;

4.4 Signal input options: DP, HDMI, DVI-D, 12G-SDI, 3G-SDI, etc.

V. Mechanism of Pneumoperitoneum

5.1 Maximum flow rate ≥40L/min;

5.2 Features overvoltage protection;

5.3 Automatic detection and control with pressure display: dynamic and real-time display.

VI. Fluorescent Lens

6.1 Diameter ≤10mm, length ≥31cm

configure

| order number | name | quantity |
| --- | --- | --- |
| - 1 | main engine | 1 |
| - 2 | camera | 1 |
| - 3 | Three-in-one thoracoscopic lens | 1 |
| - 4 | 10mm fluorescent microscope lens | 1 |
| - 5 | 5mm fluorescent microscope lens | 1 |
| - 6 | 10mm lens | 1 |
| - 7 | 5mm lens | 1 |
| - 8 | coldlight source | 1 |
| - 9. | Gas pneumoperitoneum machine | 1 |
| - 10 | light transmitting bundle | 2 |
| - 11 | 32-inch monitor | 1 |
| - 12 | pneumoperitoneal tube | 1 |
| - 13 | Multi-functional trolley | 1 |